## Master Bid Tab
PROJECT NAME: |  | Chicago Department of Transporation Works Progress Administration ("WPA") Street Reconstruction
LOCATION: |  | S. Oakley Ave.-Garfield Blvd / E. 94th St. / S. Oakley Ave.-58th St.
CONTRACT NO: |  | C1618
PROJECT NO(S): |  | 22334, 22335 and 22336
FIRM NAME:
BID FORM
Bidders MUST use the Excel File available to bidders from the Cushing Planroom (http://dfs.cushingco.com/pbc.htm) or the PBC Website (https://www.pbcchicago.com/?p=120721) to ensure accurate calculations for the Total Base Bid and Total Award Criteria. Please follow instructions on the Bid Form (below) for Electronic Submission.
South Oakley Ave. -Garfield Blvd. | LINE | DESCRIPTION | AMOUNT
22334 - South Oakley Avenue-Garfield Bouelvard
| 1 | Base Work Only | 0
| 2 | Commission's Contract Contingency | 574384
| 3 | Sitework Allowance | 25000
| 4 | TOTAL BASE BID | 599384
Accepted by the Commission
East 94th St. | LINE | DESCRIPTION | AMOUNT
22335 - East 94th Street
| 5 | Base Work Only | 0
| 6 | Commission's Contract Contingency | 283860
| 7 | Sitework Allowance | 25000
| 8 | TOTAL BASE BID | 308860
Accepted by the Commission
South Oakley Ave. -58th St. | LINE | DESCRIPTION | AMOUNT
22336 - South Oakley Avenue-58th Street
| 9 | Base Work Only | 0
| 10 | Commission's Contract Contingency | 395577
| 11 | Sitework Allowance | 25000
| 12 | TOTAL BASE BID | 420577
Accepted by the Commission
| LINE | DESCRIPTION | TOTAL AMOUNTS
| 13 | GRAND TOTAL BASE BID - ALL STREETS (Total of Lines 4, 8 and 12) | 1328821
| 14 | GRAND TOTAL AWARD CRITERIA FIGURE - ALL STREETS | 1328821
SURETY INFORMATION (Provide Legal Name and address of Surety)
Name:
Address:
BIDDER'S INFORMATION
Firm Name:
Date:
NOTES/INSTRUCTIONS
Prior to submitting your bid electronically, please do the following: 1. Ensure ALL THREE (3) Schedule of Prices Worksheets are Complete. 2. Ensure Award Criteria Worksheet is Complete. 3. Ensure Surety Information section, and Bidder's Information section have been populated. 4. Save the file. 5. Convert the file to PDF. 6. Include copy of the Bid Form and Schedule of Prices within the scanned copy of the bid. 7. Attach the PDF version AND the Excel file, along with the scanned copy of the bid. 8. Send email to: james.borkman@cityofchicago.org and pbc-procurement@cityofchicago.org
Light Gray | Base Work Only | Base Work Only automatically poulates from each Schedule of Prices Worksheet (Line 131)
Light Blue | Contingency(ies) | Amount is fixed and will automatically calculate to determine Totatl Base Bid (Total of all Streets)
Light Yellow | Allowance(s) | Amount is fixed and will automatically calculate to determine Totatl Base Bid (Total of All Streets)
Maroon | Total Base Bid | Equals Line 1 through 12. Total Base Bid automatically populates.
Blue | Total Award Criteria Figure | Based on Line 13 (Totat Base Bid figure). Total Award Criteria Figure (Line 14) automatically populates from Award Criteria Figure Worksheet.

## Award Criteria Figure
PROJECT NAME: | Chicago Department of Transporation Works Progress Administration ("WPA") Street Reconstruction
LOCATION: | S. Oakley Ave.-Garfield Blvd / E. 94th St. / S. Oakley Ave.-58th St.
CONTRACT NO: | C1618
PROJECT NO(S): | 22334, 22335 and 22336
TOTAL BASE WORK ONLY
525000
AWARD CRITERA FIGURE FORMULA
FORMULA
Line 1. (Based on Grand Total Base Bid) |  | 1328821
Line 2. Minority Journeyman (Maximum figure 0.70)
Line 3. Multiply Line 2 by Line 1 by 0.04 |  | 0
1328821
Line 4. Minority Apprentice (Maximum figure 0.70)
Line 5. Multiply Line 4 by Line 1 by 0.03 |  | 0
1328821
Line 6. Minority Laborer (Maximum figure 0.70)
Line 7. Multiply Line 6 by Line 1 by 0.01 |  | 0
1328821
Line 8. Female Journeyman (Maximum figure 0.15)
Line 9. Multiply Line 8 by Line 1 by 0.04 |  | 0
1328821
Line 10. Female Apprentice (Maximum figure 0.15)
Line 11. Multiply Line 10 by Line 1 by 0.03 |  | 0
1328821
Line 12. Female Laborer (Maximum figure 0.15)
Line 13. Multiply Line 12 by Line 1 by 0.01 |  | 0
1328821
Line 14. Total of Lines 3, 5, 7, 9, 11, and 13 |  | 0
Line 15. Total Award Criteria |  | 1328821
TOTAL AWARD CRITERIA (Line 15) |  | 1328821
Accepted by the Commission
BIDDER'S INFORMATION
Firm Name:
Date:
NOTES/INSTRUCTIONS
1. Prior to submitting your bid electronically, please do the following: a. Ensure Lines 2, 4, 6, 8, 10, and 12 in the Formula column and the Bidder's Information section have been populated. b. Save the file. c. Convert the file to PDF. d. Include copy of the Award Criteria Figure worksheet within the scanned copy of the bid. e. Attach the PDF AND Excel version, along with the scanned copy of the bid. f. Send email to: james.borkman@cityofchicago.org and pbc-procurment@cityofchicago.org.
2. Line 1. (Based on Total Base Bid) automatically populates from Bid Form.
3. Bidder is to populate Lines 2, 4, 6, 8, 10, and 12 (fields shaded Light Green).
4. Lines 2, 4, 6, 8, 10, and 12 are to be entered in decimals. (ie 5% participation = 0.05, 15% participation = 0.15, 50% participation = .50)
5. Line 15. TOTAL AWARD CRITERIA automatically populates.

## 22334 S. Oakley-Garfield Blvd
SCHEDULE OF PRICES CHICAGO DEPARTMENT OF TRANSPORTATION WORKS PROGRESS ADMINISTRATION ("WPA") STREET RECONSTRUCTION LOCATION: S. Oakley Ave. (from W. Garfield Blvd. to W. 57th St.) CDOT PROJECT NO.: B-4-334 PBC PROJECT NO.: 22334 PBC CONTRACT: C1618 Bidder's pricing for each line item should carry its share of the costs of work, plus its share of overhead and profit. Bidders should avoid nominal pricing for some lines and enhanced pricing for other lines. Bids that the PBC considers to be materially unbalanced will be rejected.
Line | Code Number | Description | Unit | Estimated Quantity | Unit Price | Cost
1 | 20100010C | TREE REMOVAL (1 TO 6 UNITS DIAMETER) | UNIT | 5 |  | 0
2 | 20100110 | TREE REMOVAL (6 TO 15 UNITS DIAMETER) | UNIT | 37 |  | 0
3 | 20100210 | TREE REMOVAL (OVER 15 UNITS DIAMETER) | UNIT | 156 |  | 0
4 | 20101100C | TREE PROTECTION | EACH | 16 |  | 0
5 | 20101210C | ROOT PRUNING | FOOT | 40 |  | 0
6 | 20200100 | EARTH EXCAVATION | CU YD | 2954 |  | 0
7 | 701Z0800C | AGGREGATE FOR TEMPORARY ACCESS | TON | 170 |  | 0
8 | 20800150 | TRENCH BACKFILL | CU YD | 1350 |  | 0
9 | 208Z0200C | TRENCH BACKFILL, WATERMAIN | CU YD | 587 |  | 0
10 | 21101615 | TOPSOIL FURNISH AND PLACE, 4-INCH | SQ YD | 1893 |  | 0
11 | 251K0100C | SHREDDED HARDWOOD BARK MULCH | SQ YD | 210 |  | 0
12 | CDOT25200110 | SODDING, SALT TOLERANT | SQ YD | 1893 |  | 0
13 | ******** | TREE PLANTING 2-1/2 INCH TO 3-INCH B&B | EACH | 35 |  | 0
14 | 28000510 | INLET FILTERS | EACH | 9 |  | 0
15 | 31101100 | SUBBASE GRANULAR MATERIAL, TYPE B, 6-INCH | CU YD | 696 |  | 0
16 | 35300200 | PORTLAND CEMENT CONCRETE BASE COURSE, 7-INCH | SQ YD | 3150 |  | 0
17 | 40600290 | BITUMINOUS MATERIALS (TACK COAT) | POUND | 2729 |  | 0
18 | 40600525 | LEVELING BINDER (HAND METHOD), N50 | TON | 5 |  | 0
19 | 40600635 | LEVELING BINDER (MACHINE METHOD), N50 1-1/2 INCH | TON | 328 |  | 0
20 | 40604060 | HOT-MIX ASPHALT SURFACE COURSE, IL-19, MIX "D", N50, 2 INCH | TON | 445 |  | 0
21 | 42001300 | PROTECTIVE COAT | SQ YD | 324 |  | 0
22 | 42300400 | PORTLAND CEMENT CONCRETE DRIVEWAY AND ALLEY PAVEMENTS, 8-INCH | SQ YD | 324 |  | 0
23 | 42400200C | PORTLAND CEMENT CONCRETE SIDEWALK 5 INCH | SQ FT | 3560 |  | 0
24 | 42400210C | PORTLAND CEMENT CONCRETE ADA RAMP 5 INCH | SQ FT | 786 |  | 0
25 | 42400410C | PORTLAND CEMENT CONCRETE SIDEWALK 8 INCH | SQ FT | 1735 |  | 0
26 | 42400420C | PORTLAND CEMENT CONCRETE ADA RAMP 8 INCH | SQ FT | 120 |  | 0
27 | 42400800C | LINEAR DETECTABLE WARNING TILES (CAST IRON) | SQ FT | 96 |  | 0
28 | 44000050C | HOT-MIX ASPHALT SURFACE REMOVAL, VARIABLE DEPTH | SQ YD | 0 |  | 0
29 | 44000100 | PAVEMENT REMOVAL | SQ YD | 4043 |  | 0
30 | 44000300 | CURB REMOVAL | FOOT | 0 |  | 0
31 | 44000500 | COMBINATION CURB AND GUTTER REMOVAL | FOOT | 384 |  | 0
32 | 999X0900C | DRILL AND GROUT TIE BARS, No.5, EPOXY COATED | EACH | 64 |  | 0
33 | ******** | SAW CUTTING PAVEMENT | FOOT | 128 |  | 0
34 | ******** | DRIVEWAY AND ALLEY RETURN PAVEMENT REMOVAL (SPECIAL) | SQ YD | 502 |  | 0
35 | 44000600 | SIDEWALK REMOVAL | SQ FT | 3788 |  | 0
36 | 54248510 | CONCRETE COLLAR | CU YD | 2 |  | 0
37 | 550Z0108C | STORM SEWER, EXTRA STRENGTH VITRIFIED CLAY PIPE, TYPE 2, 8 INCH | FOOT | 25 |  | 0
38 | 550Z0112C | STORM SEWER, EXTRA STRENGTH VITRIFIED CLAY PIPE, TYPE 2, 12 INCH | FOOT | 10 |  | 0
39 | 550Z0132C | STORM SEWER, DUCTILE IRON PIPE, TYPE 2, 8 INCH | FOOT | 92 |  | 0
40 | 550Z0140C | STORM SEWER, DUCTILE IRON PIPE, TYPE 2, 24 INCH | FOOT | 37 |  | 0
41 | 550Z0144C | STORM SEWER, DUCTILE IRON PIPE, TYPE 2, 36-INCH | FOOT | 0 |  | 0
42 | 550Z0162C | STORM SEWER, REINFORCED CONCRETE PIPE, TYPE 2, 24-INCH | FOOT | 835 |  | 0
43 | 550Z0166C | STORM SEWER, REINFORCED CONCRETE PIPE, TYPE 2, 36-INCH | FOOT | 0 |  | 0
44 | 551Z0200C | EXISTING SEWER TO BE REMOVED | FOOT | 1060 |  | 0
45 | 551Z0400C | SEWER CLEANING AND TELEVISING | FOOT | 276 |  | 0
46 | 56100010 | DUCTILE IRON WATER MAIN TEE, 8" X 4" | EACH | 2 |  | 0
47 | 56100015 | DUCTILE IRON WATER MAIN TEE, 8" X 6" | EACH | 1 |  | 0
48 | 56100020 | DUCTILE IRON WATER MAIN TEE, 8" X 8" | EACH | 6 |  | 0
49 | 56101140 | DUCTILE IRON WATER MAIN REDUCER, 4" x 3" | EACH | 2 |  | 0
50 | 56101150 | DUCTILE IRON WATER MAIN REDUCER, 8" x 6" | EACH | 2 |  | 0
51 | 56102900 | DUCTILE IRON WATER MAIN 4" | FOOT | 47 |  | 0
52 | 56103000 | DUCTILE IRON WATER MAIN 6" | FOOT | 34 |  | 0
53 | 56103100 | DUCTILE IRON WATER MAIN 8" | FOOT | 1243 |  | 0
54 | 56105000 | WATER VALVES 8" | EACH | 4 |  | 0
55 | 56109416 | DUCTILE IRON WATER MAIN FITTINGS 4" 45 DEGREE BEND | EACH | 4 |  | 0
56 | 56109418 | DUCTILE IRON WATER MAIN FITTINGS 6" 45 DEGREE BEND | EACH | 4 |  | 0
57 | 56109420 | DUCTILE IRON WATER MAIN FITTINGS 8" 45 DEGREE BEND | EACH | 10 |  | 0
58 | 56200300 | WATER SERVICE LINE 1" | LF | 837 |  | 0
59 | 56200500 | WATER SERVICE LINE 1 1/2" | LF | 0 |  | 0
60 | 56400500 | FIRE HYDRANTS TO BE REMOVED | EACH | 3 |  | 0
61 | 56400600 | FIRE HYDRANTS | EACH | 3 |  | 0
62 | 56400700 | FIRE HYDRANTS (SPECIAL - FLUSHING HYDRANT) | EACH | 2 |  | 0
63 | 60221100 | MANHOLE, 5 FT DIAMETER, TYPE A, FRAME AND CLOSED LID (CITY OF CHICAGO) | EACH | 4 |  | 0
64 | 60500040 | REMOVING MANHOLES | EACH | 12 |  | 0
65 | X0326901 | TRANSITION SLEEVE, 8" | EACH | 0 |  | 0
66 | X1200065 | WATER MAIN CAP, 8" | EACH | 0 |  | 0
67 | X5620030 | WATER SERVICE CONNECTION 1-INCH | EACH | 26 |  | 0
68 | X5620030 | WATER SERVICE CONNECTION 1.5-INCH | EACH | 0 |  | 0
69 | ******** | DUCTILE IRON MJ SLEEVE, 8" | EACH | 3 |  | 0
70 | ******** | RESILIENT WEDGE VALVE 4" | EACH | 2 |  | 0
71 | ******** | RESILIENT WEDGE VALVE 6" | EACH | 1 |  | 0
72 | ******** | RESILIENT WEDGE VALVE 8" | EACH | 2 |  | 0
73 | ******** | SERVICE CONTROL VALVE AND BUFFALO BOX | EACH | 26 |  | 0
74 | IDOT X0326901 | TRANSITION SLEEVE, 3" | EACH | 2 |  | 0
75 | IDOT X0326901 | TRANSITION SLEEVE, 6" | EACH | 3 |  | 0
76 | ******** | CATCH BASINS, TYPE A, 3'-DIAMETER, TYPE 1 FRAME, CLOSED LID (CITY OF CHICAGO) | EACH | 4 |  | 0
77 | 60200105C | CATCH BASINS, TYPE A, 4'-DIAMETER, TYPE 1 FRAME, OPEN LID (CITY OF CHICAGO) | EACH | 5 |  | 0
78 | 602Z0110C | MANHOLES, TYPE A, 3'-DIAMETER, TYPE 1 FRAME, CLOSED LID (CITY OF CHICAGO) | EACH | 2 |  | 0
79 | ******** | MANHOLES, TYPE A, 3'-DIAMETER, TYPE 1 FRAME, OPEN LID (CITY OF CHICAGO) | EACH | 0 |  | 0
80 | 602Z0115C | MANHOLES, TYPE B, 3'-DIAMETER, TYPE 1 FRAME, CLOSED LID (CITY OF CHICAGO) | EACH | 2 |  | 0
81 | 602Z0135C | TUMBLING BASIN 48" DIAMETER, TYPE 1 FRAME, CLOSED LID (CITY OF CHICAGO) | EACH | 0 |  | 0
82 | ******** | TUMBLING BASIN 60" DIAMETER, TYPE 1 FRAME, CLOSED LID (CITY OF CHICAGO) | EACH | 0 |  | 0
83 | 602Z0700C | ADDITIONAL MASONRY | FOOT | 2 |  | 0
84 | 60234200C | INLETS, TYPE A, TYPE 1 FRAME, OPEN LID (CITY OF CHICAGO) | EACH | 4 |  | 0
85 | 60255800C | MANHOLES TO BE ADJUSTED WITH NEW TYPE 1 FRAME, CLOSED LID | EACH | 0 |  | 0
86 | 604Z0100C | FRAMES | EACH | 1 |  | 0
87 | 604Z0200C | LIDS | EACH | 1 |  | 0
88 | 60500050C | REMOVING CATCH BASINS | EACH | 12 |  | 0
89 | 60500060C | REMOVING INLETS | EACH | 3 |  | 0
90 | 60600605 | CONCRETE CURB, TYPE B | FOOT | 168 |  | 0
91 | 606Z0100C | COMBINATION CONCRETE CURB AND GUTTER, TYPE B-V12 | FOOT | 2235 |  | 0
92 | ******** | CONSTRUCTION SIGN | EACH | 2 |  | 0
93 | 670Z0100C | ENGINEER'S FIELD OFFICE | CAL MONTH | 0 |  | 0
94 | 66900200 | NON-SPECIAL WASTE DISPOSAL | CU YD | 3460 |  | 0
95 | 66900530 | SOIL DISPOSAL ANALYSIS | EACH | 1 |  | 0
96 | 66901001 | REGULATED SUBSTANCES PRE-CONSTRUCTION PLAN | L SUM | 1 |  | 0
97 | 66901003 | REGULATED SUBSTANCES FINAL CONSTRUCTION REPORT | L SUM | 1 |  | 0
98 | 66901006 | REGULATED SUBSTANCES MONITORING | CAL DAY | 20 |  | 0
99 | 701Z0300C | TRAFFIC CONTROL COMPLETE | L SUM | 1 |  | 0
100 | 720Z0210C | INSTALL SIGN PANEL, TY. 1, CENTER MOUNT ON LIGHT POLE | SQ FT | 15 |  | 0
101 | 720Z0215C | INSTALL SIGN PANEL, TY. 1, CENTER MOUNT ON SIGN POLE | SQ FT | 24 |  | 0
102 | 720Z0225C | INSTALL SIGN PANEL, TY. 1, FLAG MOUNT BANDED TO LIGHT POLE | SQ FT | 32 |  | 0
103 | 720Z0235C | INSTALL SIGN PANEL, TY. 1, FLAG MOUNT ON SIGN POLE | SQ FT | 0 |  | 0
104 | 720Z0810C | SIGN PANEL, TYPE 1, RETROREFLECTIVE | SQ FT | 71 |  | 0
105 | 724Z0100C | REMOVE AND SALVAGE SIGN PANEL | EACH | 12 |  | 0
106 | 724Z0110C | REMOVE AND SALVAGE SIGN PANEL AND POLE ASSEMBLY | EACH | 4 |  | 0
107 | 729Z0110C | SIGN SUPPORT POST, DIG METHOD | EACH | 5 |  | 0
108 | 729Z0120Z | SIGN SUPPORT POST, DRILL METHOD | EACH | 0 |  | 0
109 | 78000400 | THERMOPLASTIC PAVEMENT MARKING, LINE 6 IN | FOOT | 54 |  | 0
110 | 78000650 | THERMOPLASTIC PAVEMENT MARKING, LINE 24 IN | FOOT | 274 |  | 0
111 | 810Z0265C | CONDUIT IN TRENCH, PVC (SCHEDULE 80), 2" DIA. | FOOT | 0 |  | 0
112 | 810Z0280C | CONDUIT, DIRECTIONAL BORED, COILABLE NONMETALLIC CONDUIT, SCHEDULE 80, 1 1/4" DIA. | FOOT | 2594 |  | 0
113 | 810Z0285C | CONDUIT, DIRECTIONAL BORED, COILABLE NONMETALLIC CONDUIT, SCHEDULE 80, 2" DIA. | FOOT | 106 |  | 0
114 | 811Z0210C | CONDUIT RISER ATTACHED TO POLE, 2" | EACH | 0 |  | 0
115 | 814Z0120C | HANDHOLE, ELECTRIC, WITH 24" FRAME AND COVER | EACH | 2 |  | 0
116 | 817Z0220C | ELECTRIC CABLE IN CONDUIT, TRIPLEX, 2-1/C NO. 6, 1-1/C NO. 8 GROUND | FOOT | 2974 |  | 0
117 | 821Z0300C | LUMINAIRE, LED, ACORN, ARTERIAL, RESIDENTIAL | EACH | 14 |  | 0
118 | 821Z0860C | LUMINAIRE, LED, COBRA HEAD, RESIDENTIAL | EACH | 14 |  | 0
119 | 825Z0200C | CONTROLLER, STREET LIGHTING, POLE MOUNTED, CONSTANT POWER, 1-PHASE, 120/240V, 60A | EACH | 2 |  | 0
120 | 83000023C | LIGHT POLE, ALUMINUM, DAVIT, 18 FT. M.H., 8 FT DAVIT ARM | EACH | 14 |  | 0
121 | 836Z0210C | LIGHT POLE FOUNDATION, METAL, 10" BOLT CIRCLE, 8 5/8" X 5' | EACH | 14 |  | 0
122 | 851Z0100C | PAINT EXISTING LIGHT POLE, MAST ARM(S), AND LUMINAIRE(S) | EACH | 0 |  | 0
123 | 895Z0100C | REMOVE EXISTING STREET LIGHTING EQUIPMENT | L SUM | 1 |  | 0
124 | 895Z1100C | BREAKDOWN CONCRETE FOUNDATION, LIGHT POLE | EACH | 8 |  | 0
125 | 159 | ELBOW, CONDUIT, STEEL 2" ON STRUCTURE | EACH | 0 |  | 0
126 | 234A | SERVICE ENTRANCE ON POLE TOP, 2-INCH | EACH | 0 |  | 0
127 | ****** | INSTALL CONDUIT INTO EXISTING HELIX FOUNDATION | EACH | 0 |  | 0
128 | ****** | GUARD POST | EACH | 0 |  | 0
129 | ****** | TYPE II TEMPORARY WATER MAIN SUPPORT | EACH | 2 |  | 0
130 | ****** | TYPE III TEMPORARY WATER MAIN SUPPORT | EACH | 12 |  | 0
131 | TOTAL FOR 22334/B-4-334 - SOUTH OAKLEY AVE.-GARFIELD BLVD. |  |  |  |  | 0

## 22335 E. 94th St
SCHEDULE OF PRICES CHICAGO DEPARTMENT OF TRANSPORTATION WORKS PROGRESS ADMINISTRATION ("WPA") STREET RECONSTRUCTION LOCATION: E. 94th St. (from East End Ave. to Cregier Ave.) CDOT PROJECT NO.: B-4-335 PBC PROJECT NO.: 22335 PBC CONTRACT: C1618 Bidder's pricing for each line item should carry its share of the costs of work, plus its share of overhead and profit. Bidders should avoid nominal pricing for some lines and enhanced pricing for other lines. Bids that the PBC considers to be materially unbalanced will be rejected.
Line | Code Number | Description | Unit | Estimated Quantity | Unit Price | Cost
1 | 20100010C | TREE REMOVAL (1 TO 6 UNITS DIAMETER) | UNIT | 8 |  | 0
2 | 20100110 | TREE REMOVAL (6 TO 15 UNITS DIAMETER) | UNIT | 57 |  | 0
3 | 20100210 | TREE REMOVAL (OVER 15 UNITS DIAMETER) | UNIT | 165 |  | 0
4 | 20101100C | TREE PROTECTION | EACH | 2 |  | 0
5 | 20101210C | ROOT PRUNING | FOOT | 0 |  | 0
6 | 20200100 | EARTH EXCAVATION | CU YD | 1406 |  | 0
7 | 701Z0800C | AGGREGATE FOR TEMPORARY ACCESS | TON | 20 |  | 0
8 | 20800150 | TRENCH BACKFILL | CU YD | 210 |  | 0
9 | 208Z0200C | TRENCH BACKFILL, WATERMAIN | CU YD | 251 |  | 0
10 | 21101615 | TOPSOIL FURNISH AND PLACE, 4-INCH | SQ YD | 62 |  | 0
11 | 251K0100C | SHREDDED HARDWOOD BARK MULCH | SQ YD | 0 |  | 0
12 | CDOT25200110 | SODDING, SALT TOLERANT | SQ YD | 62 |  | 0
13 | ******** | TREE PLANTING 2-1/2 INCH TO 3-INCH B&B | EACH | 0 |  | 0
14 | 28000510 | INLET FILTERS | EACH | 3 |  | 0
15 | 31101100 | SUBBASE GRANULAR MATERIAL, TYPE B, 6-INCH | CU YD | 290 |  | 0
16 | 35300200 | PORTLAND CEMENT CONCRETE BASE COURSE, 7-INCH | SQ YD | 1734 |  | 0
17 | 40600290 | BITUMINOUS MATERIALS (TACK COAT) | POUND | 1273 |  | 0
18 | 40600525 | LEVELING BINDER (HAND METHOD), N50 | TON | 2 |  | 0
19 | 40600635 | LEVELING BINDER (MACHINE METHOD), N50 1-1/2 INCH | TON | 153 |  | 0
20 | 40604060 | HOT-MIX ASPHALT SURFACE COURSE, IL-19, MIX "D", N50, 2 INCH | TON | 208 |  | 0
21 | 42001300 | PROTECTIVE COAT | SQ YD | 102 |  | 0
22 | 42300400 | PORTLAND CEMENT CONCRETE DRIVEWAY AND ALLEY PAVEMENTS, 8-INCH | SQ YD | 102 |  | 0
23 | 42400200C | PORTLAND CEMENT CONCRETE SIDEWALK 5 INCH | SQ FT | 2421 |  | 0
24 | 42400210C | PORTLAND CEMENT CONCRETE ADA RAMP 5 INCH | SQ FT | 101 |  | 0
25 | 42400410C | PORTLAND CEMENT CONCRETE SIDEWALK 8 INCH | SQ FT | 120 |  | 0
26 | 42400420C | PORTLAND CEMENT CONCRETE ADA RAMP 8 INCH | SQ FT | 0 |  | 0
27 | 42400800C | LINEAR DETECTABLE WARNING TILES (CAST IRON) | SQ FT | 24 |  | 0
28 | 44000050C | HOT-MIX ASPHALT SURFACE REMOVAL, VARIABLE DEPTH | SQ YD | 63 |  | 0
29 | 44000100 | PAVEMENT REMOVAL | SQ YD | 2110 |  | 0
30 | 44000300 | CURB REMOVAL | FOOT | 0 |  | 0
31 | 44000500 | COMBINATION CURB AND GUTTER REMOVAL | FOOT | 108 |  | 0
32 | 999X0900C | DRILL AND GROUT TIE BARS, No.5, EPOXY COATED | EACH | 38 |  | 0
33 | ******** | SAW CUTTING PAVEMENT | FOOT | 80 |  | 0
34 | ******** | DRIVEWAY AND ALLEY RETURN PAVEMENT REMOVAL (SPECIAL) | SQ YD | 91 |  | 0
35 | 44000600 | SIDEWALK REMOVAL | SQ FT | 428 |  | 0
36 | 54248510 | CONCRETE COLLAR | CU YD | 0 |  | 0
37 | 550Z0108C | STORM SEWER, EXTRA STRENGTH VITRIFIED CLAY PIPE, TYPE 2, 8 INCH | FOOT | 0 |  | 0
38 | 550Z0112C | STORM SEWER, EXTRA STRENGTH VITRIFIED CLAY PIPE, TYPE 2, 12 INCH | FOOT | 0 |  | 0
39 | 550Z0132C | STORM SEWER, DUCTILE IRON PIPE, TYPE 2, 8 INCH | FOOT | 60 |  | 0
40 | 550Z0140C | STORM SEWER, DUCTILE IRON PIPE, TYPE 2, 24 INCH | FOOT | 0 |  | 0
41 | 550Z0144C | STORM SEWER, DUCTILE IRON PIPE, TYPE 2, 36-INCH | FOOT | 284 |  | 0
42 | 550Z0162C | STORM SEWER, REINFORCED CONCRETE PIPE, TYPE 2, 24-INCH | FOOT | 0 |  | 0
43 | 550Z0166C | STORM SEWER, REINFORCED CONCRETE PIPE, TYPE 2, 36-INCH | FOOT | 286 |  | 0
44 | 551Z0200C | EXISTING SEWER TO BE REMOVED | FOOT | 0 |  | 0
45 | 551Z0400C | SEWER CLEANING AND TELEVISING | FOOT | 328 |  | 0
46 | 56100010 | DUCTILE IRON WATER MAIN TEE, 8" X 4" | EACH | 0 |  | 0
47 | 56100015 | DUCTILE IRON WATER MAIN TEE, 8" X 6" | EACH | 0 |  | 0
48 | 56100020 | DUCTILE IRON WATER MAIN TEE, 8" X 8" | EACH | 2 |  | 0
49 | 56101140 | DUCTILE IRON WATER MAIN REDUCER, 4" x 3" | EACH | 0 |  | 0
50 | 56101150 | DUCTILE IRON WATER MAIN REDUCER, 8" x 6" | EACH | 0 |  | 0
51 | 56102900 | DUCTILE IRON WATER MAIN 4" | FOOT | 0 |  | 0
52 | 56103000 | DUCTILE IRON WATER MAIN 6" | FOOT | 0 |  | 0
53 | 56103100 | DUCTILE IRON WATER MAIN 8" | FOOT | 663 |  | 0
54 | 56105000 | WATER VALVES 8" | EACH | 3 |  | 0
55 | 56109416 | DUCTILE IRON WATER MAIN FITTINGS 4" 45 DEGREE BEND | EACH | 0 |  | 0
56 | 56109418 | DUCTILE IRON WATER MAIN FITTINGS 6" 45 DEGREE BEND | EACH | 0 |  | 0
57 | 56109420 | DUCTILE IRON WATER MAIN FITTINGS 8" 45 DEGREE BEND | EACH | 6 |  | 0
58 | 56200300 | WATER SERVICE LINE 1" | LF | 0 |  | 0
59 | 56200500 | WATER SERVICE LINE 1 1/2" | LF | 0 |  | 0
60 | 56400500 | FIRE HYDRANTS TO BE REMOVED | EACH | 1 |  | 0
61 | 56400600 | FIRE HYDRANTS | EACH | 1 |  | 0
62 | 56400700 | FIRE HYDRANTS (SPECIAL - FLUSHING HYDRANT) | EACH | 1 |  | 0
63 | 60221100 | MANHOLE, 5 FT DIAMETER, TYPE A, FRAME AND CLOSED LID (CITY OF CHICAGO) | EACH | 3 |  | 0
64 | 60500040 | REMOVING MANHOLES | EACH | 6 |  | 0
65 | X0326901 | TRANSITION SLEEVE, 8" | EACH | 3 |  | 0
66 | X1200065 | WATER MAIN CAP, 8" | EACH | 1 |  | 0
67 | X5620030 | WATER SERVICE CONNECTION 1-INCH | EACH | 0 |  | 0
68 | X5620030 | WATER SERVICE CONNECTION 1.5-INCH | EACH | 0 |  | 0
69 | ******** | DUCTILE IRON MJ SLEEVE, 8" | EACH | 0 |  | 0
70 | ******** | RESILIENT WEDGE VALVE 4" | EACH | 0 |  | 0
71 | ******** | RESILIENT WEDGE VALVE 6" | EACH | 0 |  | 0
72 | ******** | RESILIENT WEDGE VALVE 8" | EACH | 0 |  | 0
73 | ******** | SERVICE CONTROL VALVE AND BUFFALO BOX | EACH | 0 |  | 0
74 | IDOT X0326901 | TRANSITION SLEEVE, 3" | EACH | 0 |  | 0
75 | IDOT X0326901 | TRANSITION SLEEVE, 6" | EACH | 0 |  | 0
76 | ******** | CATCH BASINS, TYPE A, 3'-DIAMETER, TYPE 1 FRAME, CLOSED LID (CITY OF CHICAGO) | EACH | 0 |  | 0
77 | 60200105C | CATCH BASINS, TYPE A, 4'-DIAMETER, TYPE 1 FRAME, OPEN LID (CITY OF CHICAGO) | EACH | 3 |  | 0
78 | 602Z0110C | MANHOLES, TYPE A, 3'-DIAMETER, TYPE 1 FRAME, CLOSED LID (CITY OF CHICAGO) | EACH | 2 |  | 0
79 | ******** | MANHOLES, TYPE A, 3'-DIAMETER, TYPE 1 FRAME, OPEN LID (CITY OF CHICAGO) | EACH | 0 |  | 0
80 | 602Z0115C | MANHOLES, TYPE B, 3'-DIAMETER, TYPE 1 FRAME, CLOSED LID (CITY OF CHICAGO) | EACH | 3 |  | 0
81 | 602Z0135C | TUMBLING BASIN 48" DIAMETER, TYPE 1 FRAME, CLOSED LID (CITY OF CHICAGO) | EACH | 1 |  | 0
82 | ******** | TUMBLING BASIN 60" DIAMETER, TYPE 1 FRAME, CLOSED LID (CITY OF CHICAGO) | EACH | 0 |  | 0
83 | 602Z0700C | ADDITIONAL MASONRY | FOOT | 2 |  | 0
84 | 60234200C | INLETS, TYPE A, TYPE 1 FRAME, OPEN LID (CITY OF CHICAGO) | EACH | 0 |  | 0
85 | 60255800C | MANHOLES TO BE ADJUSTED WITH NEW TYPE 1 FRAME, CLOSED LID | EACH | 0 |  | 0
86 | 604Z0100C | FRAMES | EACH | 1 |  | 0
87 | 604Z0200C | LIDS | EACH | 1 |  | 0
88 | 60500050C | REMOVING CATCH BASINS | EACH | 0 |  | 0
89 | 60500060C | REMOVING INLETS | EACH | 0 |  | 0
90 | 60600605 | CONCRETE CURB, TYPE B | FOOT | 40 |  | 0
91 | 606Z0100C | COMBINATION CONCRETE CURB AND GUTTER, TYPE B-V12 | FOOT | 1318 |  | 0
92 | ******** | CONSTRUCTION SIGN | EACH | 2 |  | 0
93 | 670Z0100C | ENGINEER'S FIELD OFFICE | CAL MONTH | 5 |  | 0
94 | 66900200 | NON-SPECIAL WASTE DISPOSAL | CU YD | 1618 |  | 0
95 | 66900530 | SOIL DISPOSAL ANALYSIS | EACH | 1 |  | 0
96 | 66901001 | REGULATED SUBSTANCES PRE-CONSTRUCTION PLAN | L SUM | 1 |  | 0
97 | 66901003 | REGULATED SUBSTANCES FINAL CONSTRUCTION REPORT | L SUM | 1 |  | 0
98 | 66901006 | REGULATED SUBSTANCES MONITORING | CAL DAY | 20 |  | 0
99 | 701Z0300C | TRAFFIC CONTROL COMPLETE | L SUM | 1 |  | 0
100 | 720Z0210C | INSTALL SIGN PANEL, TY. 1, CENTER MOUNT ON LIGHT POLE | SQ FT | 0 |  | 0
101 | 720Z0215C | INSTALL SIGN PANEL, TY. 1, CENTER MOUNT ON SIGN POLE | SQ FT | 0 |  | 0
102 | 720Z0225C | INSTALL SIGN PANEL, TY. 1, FLAG MOUNT BANDED TO LIGHT POLE | SQ FT | 7 |  | 0
103 | 720Z0235C | INSTALL SIGN PANEL, TY. 1, FLAG MOUNT ON SIGN POLE | SQ FT | 0 |  | 0
104 | 720Z0810C | SIGN PANEL, TYPE 1, RETROREFLECTIVE | SQ FT | 7 |  | 0
105 | 724Z0100C | REMOVE AND SALVAGE SIGN PANEL | EACH | 6 |  | 0
106 | 724Z0110C | REMOVE AND SALVAGE SIGN PANEL AND POLE ASSEMBLY | EACH | 0 |  | 0
107 | 729Z0110C | SIGN SUPPORT POST, DIG METHOD | EACH | 0 |  | 0
108 | 729Z0120Z | SIGN SUPPORT POST, DRILL METHOD | EACH | 0 |  | 0
109 | 78000400 | THERMOPLASTIC PAVEMENT MARKING, LINE 6 IN | FOOT | 56 |  | 0
110 | 78000650 | THERMOPLASTIC PAVEMENT MARKING, LINE 24 IN | FOOT | 0 |  | 0
111 | 810Z0265C | CONDUIT IN TRENCH, PVC (SCHEDULE 80), 2" DIA. | FOOT | 3 |  | 0
112 | 810Z0280C | CONDUIT, DIRECTIONAL BORED, COILABLE NONMETALLIC CONDUIT, SCHEDULE 80, 1 1/4" DIA. | FOOT | 657 |  | 0
113 | 810Z0285C | CONDUIT, DIRECTIONAL BORED, COILABLE NONMETALLIC CONDUIT, SCHEDULE 80, 2" DIA. | FOOT | 221 |  | 0
114 | 811Z0210C | CONDUIT RISER ATTACHED TO POLE, 2" | EACH | 4 |  | 0
115 | 814Z0120C | HANDHOLE, ELECTRIC, WITH 24" FRAME AND COVER | EACH | 2 |  | 0
116 | 817Z0220C | ELECTRIC CABLE IN CONDUIT, TRIPLEX, 2-1/C NO. 6, 1-1/C NO. 8 GROUND | FOOT | 1024 |  | 0
117 | 821Z0300C | LUMINAIRE, LED, ACORN, ARTERIAL, RESIDENTIAL | EACH | 7 |  | 0
118 | 821Z0860C | LUMINAIRE, LED, COBRA HEAD, RESIDENTIAL | EACH | 7 |  | 0
119 | 825Z0200C | CONTROLLER, STREET LIGHTING, POLE MOUNTED, CONSTANT POWER, 1-PHASE, 120/240V, 60A | EACH | 1 |  | 0
120 | 83000023C | LIGHT POLE, ALUMINUM, DAVIT, 18 FT. M.H., 8 FT DAVIT ARM | EACH | 7 |  | 0
121 | 836Z0210C | LIGHT POLE FOUNDATION, METAL, 10" BOLT CIRCLE, 8 5/8" X 5' | EACH | 7 |  | 0
122 | 851Z0100C | PAINT EXISTING LIGHT POLE, MAST ARM(S), AND LUMINAIRE(S) | EACH | 2 |  | 0
123 | 895Z0100C | REMOVE EXISTING STREET LIGHTING EQUIPMENT | L SUM | 1 |  | 0
124 | 895Z1100C | BREAKDOWN CONCRETE FOUNDATION, LIGHT POLE | EACH | 2 |  | 0
125 | 159 | ELBOW, CONDUIT, STEEL 2" ON STRUCTURE | EACH | 4 |  | 0
126 | 234A | SERVICE ENTRANCE ON POLE TOP, 2-INCH | EACH | 4 |  | 0
127 | ****** | INSTALL CONDUIT INTO EXISTING HELIX FOUNDATION | EACH | 0 |  | 0
128 | ****** | GUARD POST | EACH | 0 |  | 0
129 | ****** | TYPE II TEMPORARY WATER MAIN SUPPORT | EACH | 0 |  | 0
130 | ****** | TYPE III TEMPORARY WATER MAIN SUPPORT | EACH | 0 |  | 0
131 | TOTAL FOR 22335/B-4-335 - EAST 94TH ST |  |  |  |  | 0

## 22336 S. Oakley-58th St
SCHEDULE OF PRICES CHICAGO DEPARTMENT OF TRANSPORTATION WORKS PROGRESS ADMINISTRATION ("WPA") STREET RECONSTRUCTION LOCATION: S. Oakley Ave. (from 58th St. to 59th St.) CDOT PROJECT NO.: B-4-336 PBC PROJECT NO.: 22336 PBC CONTRACT: C1618 Bidder's pricing for each line item should carry its share of the costs of work, plus its share of overhead and profit. Bidders should avoid nominal pricing for some lines and enhanced pricing for other lines. Bids that the PBC considers to be materially unbalanced will be rejected.
Line | Code Number | Description | Unit | Estimated Quantity | Unit Price | Cost
1 | 20100010C | TREE REMOVAL (1 TO 6 UNITS DIAMETER) | UNIT | 14 |  | 0
2 | 20100110 | TREE REMOVAL (6 TO 15 UNITS DIAMETER) | UNIT | 14 |  | 0
3 | 20100210 | TREE REMOVAL (OVER 15 UNITS DIAMETER) | UNIT | 18 |  | 0
4 | 20101100C | TREE PROTECTION | EACH | 2 |  | 0
5 | 20101210C | ROOT PRUNING | FOOT | 0 |  | 0
6 | 20200100 | EARTH EXCAVATION | CU YD | 2022 |  | 0
7 | 701Z0800C | AGGREGATE FOR TEMPORARY ACCESS | TON | 200 |  | 0
8 | 20800150 | TRENCH BACKFILL | CU YD | 520 |  | 0
9 | 208Z0200C | TRENCH BACKFILL, WATERMAIN | CU YD | 321 |  | 0
10 | 21101615 | TOPSOIL FURNISH AND PLACE, 4-INCH | SQ YD | 714 |  | 0
11 | 251K0100C | SHREDDED HARDWOOD BARK MULCH | SQ YD | 108 |  | 0
12 | CDOT25200110 | SODDING, SALT TOLERANT | SQ YD | 714 |  | 0
13 | ******** | TREE PLANTING 2-1/2 INCH TO 3-INCH B&B | EACH | 18 |  | 0
14 | 28000510 | INLET FILTERS | EACH | 3 |  | 0
15 | 31101100 | SUBBASE GRANULAR MATERIAL, TYPE B, 6-INCH | CU YD | 542 |  | 0
16 | 35300200 | PORTLAND CEMENT CONCRETE BASE COURSE, 7-INCH | SQ YD | 2238 |  | 0
17 | 40600290 | BITUMINOUS MATERIALS (TACK COAT) | POUND | 1941 |  | 0
18 | 40600525 | LEVELING BINDER (HAND METHOD), N50 | TON | 4 |  | 0
19 | 40600635 | LEVELING BINDER (MACHINE METHOD), N50 1-1/2 INCH | TON | 234 |  | 0
20 | 40604060 | HOT-MIX ASPHALT SURFACE COURSE, IL-19, MIX "D", N50, 2 INCH | TON | 316 |  | 0
21 | 42001300 | PROTECTIVE COAT | SQ YD | 937 |  | 0
22 | 42300400 | PORTLAND CEMENT CONCRETE DRIVEWAY AND ALLEY PAVEMENTS, 8-INCH | SQ YD | 937 |  | 0
23 | 42400200C | PORTLAND CEMENT CONCRETE SIDEWALK 5 INCH | SQ FT | 3688 |  | 0
24 | 42400210C | PORTLAND CEMENT CONCRETE ADA RAMP 5 INCH | SQ FT | 463 |  | 0
25 | 42400410C | PORTLAND CEMENT CONCRETE SIDEWALK 8 INCH | SQ FT | 707 |  | 0
26 | 42400420C | PORTLAND CEMENT CONCRETE ADA RAMP 8 INCH | SQ FT | 276 |  | 0
27 | 42400800C | LINEAR DETECTABLE WARNING TILES (CAST IRON) | SQ FT | 36 |  | 0
28 | 44000050C | HOT-MIX ASPHALT SURFACE REMOVAL, VARIABLE DEPTH | SQ YD | 309 |  | 0
29 | 44000100 | PAVEMENT REMOVAL | SQ YD | 502 |  | 0
30 | 44000300 | CURB REMOVAL | FOOT | 10 |  | 0
31 | 44000500 | COMBINATION CURB AND GUTTER REMOVAL | FOOT | 99 |  | 0
32 | 999X0900C | DRILL AND GROUT TIE BARS, No.5, EPOXY COATED | EACH | 97 |  | 0
33 | ******** | SAW CUTTING PAVEMENT | FOOT | 221 |  | 0
34 | ******** | DRIVEWAY AND ALLEY RETURN PAVEMENT REMOVAL (SPECIAL) | SQ YD | 937 |  | 0
35 | 44000600 | SIDEWALK REMOVAL | SQ FT | 3688 |  | 0
36 | 54248510 | CONCRETE COLLAR | CU YD | 0 |  | 0
37 | 550Z0108C | STORM SEWER, EXTRA STRENGTH VITRIFIED CLAY PIPE, TYPE 2, 8 INCH | FOOT | 10 |  | 0
38 | 550Z0112C | STORM SEWER, EXTRA STRENGTH VITRIFIED CLAY PIPE, TYPE 2, 12 INCH | FOOT | 0 |  | 0
39 | 550Z0132C | STORM SEWER, DUCTILE IRON PIPE, TYPE 2, 8 INCH | FOOT | 40 |  | 0
40 | 550Z0140C | STORM SEWER, DUCTILE IRON PIPE, TYPE 2, 24 INCH | FOOT | 75 |  | 0
41 | 550Z0144C | STORM SEWER, DUCTILE IRON PIPE, TYPE 2, 36-INCH | FOOT | 390 |  | 0
42 | 550Z0162C | STORM SEWER, REINFORCED CONCRETE PIPE, TYPE 2, 24-INCH | FOOT | 0 |  | 0
43 | 550Z0166C | STORM SEWER, REINFORCED CONCRETE PIPE, TYPE 2, 36-INCH | FOOT | 390 |  | 0
44 | 551Z0200C | EXISTING SEWER TO BE REMOVED | FOOT | 0 |  | 0
45 | 551Z0400C | SEWER CLEANING AND TELEVISING | FOOT | 510 |  | 0
46 | 56100010 | DUCTILE IRON WATER MAIN TEE, 8" X 4" | EACH | 0 |  | 0
47 | 56100015 | DUCTILE IRON WATER MAIN TEE, 8" X 6" | EACH | 1 |  | 0
48 | 56100020 | DUCTILE IRON WATER MAIN TEE, 8" X 8" | EACH | 2 |  | 0
49 | 56101140 | DUCTILE IRON WATER MAIN REDUCER, 4" x 3" | EACH | 0 |  | 0
50 | 56101150 | DUCTILE IRON WATER MAIN REDUCER, 8" x 6" | EACH | 0 |  | 0
51 | 56102900 | DUCTILE IRON WATER MAIN 4" | FOOT | 0 |  | 0
52 | 56103000 | DUCTILE IRON WATER MAIN 6" | FOOT | 28 |  | 0
53 | 56103100 | DUCTILE IRON WATER MAIN 8" | FOOT | 677 |  | 0
54 | 56105000 | WATER VALVES 8" | EACH | 2 |  | 0
55 | 56109416 | DUCTILE IRON WATER MAIN FITTINGS 4" 45 DEGREE BEND | EACH | 0 |  | 0
56 | 56109418 | DUCTILE IRON WATER MAIN FITTINGS 6" 45 DEGREE BEND | EACH | 2 |  | 0
57 | 56109420 | DUCTILE IRON WATER MAIN FITTINGS 8" 45 DEGREE BEND | EACH | 6 |  | 0
58 | 56200300 | WATER SERVICE LINE 1" | LF | 140 |  | 0
59 | 56200500 | WATER SERVICE LINE 1 1/2" | LF | 66 |  | 0
60 | 56400500 | FIRE HYDRANTS TO BE REMOVED | EACH | 1 |  | 0
61 | 56400600 | FIRE HYDRANTS | EACH | 1 |  | 0
62 | 56400700 | FIRE HYDRANTS (SPECIAL - FLUSHING HYDRANT) | EACH | 1 |  | 0
63 | 60221100 | MANHOLE, 5 FT DIAMETER, TYPE A, FRAME AND CLOSED LID (CITY OF CHICAGO) | EACH | 2 |  | 0
64 | 60500040 | REMOVING MANHOLES | EACH | 4 |  | 0
65 | X0326901 | TRANSITION SLEEVE, 8" | EACH | 1 |  | 0
66 | X1200065 | WATER MAIN CAP, 8" | EACH | 0 |  | 0
67 | X5620030 | WATER SERVICE CONNECTION 1-INCH | EACH | 4 |  | 0
68 | X5620030 | WATER SERVICE CONNECTION 1.5-INCH | EACH | 2 |  | 0
69 | ******** | DUCTILE IRON MJ SLEEVE, 8" | EACH | 1 |  | 0
70 | ******** | RESILIENT WEDGE VALVE 4" | EACH | 0 |  | 0
71 | ******** | RESILIENT WEDGE VALVE 6" | EACH | 1 |  | 0
72 | ******** | RESILIENT WEDGE VALVE 8" | EACH | 0 |  | 0
73 | ******** | SERVICE CONTROL VALVE AND BUFFALO BOX | EACH | 6 |  | 0
74 | IDOT X0326901 | TRANSITION SLEEVE, 3" | EACH | 0 |  | 0
75 | IDOT X0326901 | TRANSITION SLEEVE, 6" | EACH | 0 |  | 0
76 | ******** | CATCH BASINS, TYPE A, 3'-DIAMETER, TYPE 1 FRAME, CLOSED LID (CITY OF CHICAGO) | EACH | 0 |  | 0
77 | 60200105C | CATCH BASINS, TYPE A, 4'-DIAMETER, TYPE 1 FRAME, OPEN LID (CITY OF CHICAGO) | EACH | 3 |  | 0
78 | 602Z0110C | MANHOLES, TYPE A, 3'-DIAMETER, TYPE 1 FRAME, CLOSED LID (CITY OF CHICAGO) | EACH | 3 |  | 0
79 | ******** | MANHOLES, TYPE A, 3'-DIAMETER, TYPE 1 FRAME, OPEN LID (CITY OF CHICAGO) | EACH | 1 |  | 0
80 | 602Z0115C | MANHOLES, TYPE B, 3'-DIAMETER, TYPE 1 FRAME, CLOSED LID (CITY OF CHICAGO) | EACH | 0 |  | 0
81 | 602Z0135C | TUMBLING BASIN 48" DIAMETER, TYPE 1 FRAME, CLOSED LID (CITY OF CHICAGO) | EACH | 0 |  | 0
82 | ******** | TUMBLING BASIN 60" DIAMETER, TYPE 1 FRAME, CLOSED LID (CITY OF CHICAGO) | EACH | 1 |  | 0
83 | 602Z0700C | ADDITIONAL MASONRY | FOOT | 2 |  | 0
84 | 60234200C | INLETS, TYPE A, TYPE 1 FRAME, OPEN LID (CITY OF CHICAGO) | EACH | 0 |  | 0
85 | 60255800C | MANHOLES TO BE ADJUSTED WITH NEW TYPE 1 FRAME, CLOSED LID | EACH | 6 |  | 0
86 | 604Z0100C | FRAMES | EACH | 1 |  | 0
87 | 604Z0200C | LIDS | EACH | 1 |  | 0
88 | 60500050C | REMOVING CATCH BASINS | EACH | 2 |  | 0
89 | 60500060C | REMOVING INLETS | EACH | 0 |  | 0
90 | 60600605 | CONCRETE CURB, TYPE B | FOOT | 467 |  | 0
91 | 606Z0100C | COMBINATION CONCRETE CURB AND GUTTER, TYPE B-V12 | FOOT | 1232 |  | 0
92 | ******** | CONSTRUCTION SIGN | EACH | 2 |  | 0
93 | 670Z0100C | ENGINEER'S FIELD OFFICE | CAL MONTH | 5 |  | 0
94 | 66900200 | NON-SPECIAL WASTE DISPOSAL | CU YD | 2713 |  | 0
95 | 66900530 | SOIL DISPOSAL ANALYSIS | EACH | 1 |  | 0
96 | 66901001 | REGULATED SUBSTANCES PRE-CONSTRUCTION PLAN | L SUM | 1 |  | 0
97 | 66901003 | REGULATED SUBSTANCES FINAL CONSTRUCTION REPORT | L SUM | 1 |  | 0
98 | 66901006 | REGULATED SUBSTANCES MONITORING | CAL DAY | 20 |  | 0
99 | 701Z0300C | TRAFFIC CONTROL COMPLETE | L SUM | 1 |  | 0
100 | 720Z0210C | INSTALL SIGN PANEL, TY. 1, CENTER MOUNT ON LIGHT POLE | SQ FT | 0 |  | 0
101 | 720Z0215C | INSTALL SIGN PANEL, TY. 1, CENTER MOUNT ON SIGN POLE | SQ FT | 8 |  | 0
102 | 720Z0225C | INSTALL SIGN PANEL, TY. 1, FLAG MOUNT BANDED TO LIGHT POLE | SQ FT | 0 |  | 0
103 | 720Z0235C | INSTALL SIGN PANEL, TY. 1, FLAG MOUNT ON SIGN POLE | SQ FT | 6 |  | 0
104 | 720Z0810C | SIGN PANEL, TYPE 1, RETROREFLECTIVE | SQ FT | 14 |  | 0
105 | 724Z0100C | REMOVE AND SALVAGE SIGN PANEL | EACH | 3 |  | 0
106 | 724Z0110C | REMOVE AND SALVAGE SIGN PANEL AND POLE ASSEMBLY | EACH | 1 |  | 0
107 | 729Z0110C | SIGN SUPPORT POST, DIG METHOD | EACH | 1 |  | 0
108 | 729Z0120Z | SIGN SUPPORT POST, DRILL METHOD | EACH | 1 |  | 0
109 | 78000400 | THERMOPLASTIC PAVEMENT MARKING, LINE 6 IN | FOOT | 0 |  | 0
110 | 78000650 | THERMOPLASTIC PAVEMENT MARKING, LINE 24 IN | FOOT | 119 |  | 0
111 | 810Z0265C | CONDUIT IN TRENCH, PVC (SCHEDULE 80), 2" DIA. | FOOT | 59 |  | 0
112 | 810Z0280C | CONDUIT, DIRECTIONAL BORED, COILABLE NONMETALLIC CONDUIT, SCHEDULE 80, 1 1/4" DIA. | FOOT | 799 |  | 0
113 | 810Z0285C | CONDUIT, DIRECTIONAL BORED, COILABLE NONMETALLIC CONDUIT, SCHEDULE 80, 2" DIA. | FOOT | 285 |  | 0
114 | 811Z0210C | CONDUIT RISER ATTACHED TO POLE, 2" | EACH | 0 |  | 0
115 | 814Z0120C | HANDHOLE, ELECTRIC, WITH 24" FRAME AND COVER | EACH | 0 |  | 0
116 | 817Z0220C | ELECTRIC CABLE IN CONDUIT, TRIPLEX, 2-1/C NO. 6, 1-1/C NO. 8 GROUND | FOOT | 1170 |  | 0
117 | 821Z0300C | LUMINAIRE, LED, ACORN, ARTERIAL, RESIDENTIAL | EACH | 7 |  | 0
118 | 821Z0860C | LUMINAIRE, LED, COBRA HEAD, RESIDENTIAL | EACH | 7 |  | 0
119 | 825Z0200C | CONTROLLER, STREET LIGHTING, POLE MOUNTED, CONSTANT POWER, 1-PHASE, 120/240V, 60A | EACH | 0 |  | 0
120 | 83000023C | LIGHT POLE, ALUMINUM, DAVIT, 18 FT. M.H., 8 FT DAVIT ARM | EACH | 7 |  | 0
121 | 836Z0210C | LIGHT POLE FOUNDATION, METAL, 10" BOLT CIRCLE, 8 5/8" X 5' | EACH | 7 |  | 0
122 | 851Z0100C | PAINT EXISTING LIGHT POLE, MAST ARM(S), AND LUMINAIRE(S) | EACH | 0 |  | 0
123 | 895Z0100C | REMOVE EXISTING STREET LIGHTING EQUIPMENT | L SUM | 1 |  | 0
124 | 895Z1100C | BREAKDOWN CONCRETE FOUNDATION, LIGHT POLE | EACH | 4 |  | 0
125 | 159 | ELBOW, CONDUIT, STEEL 2" ON STRUCTURE | EACH | 0 |  | 0
126 | 234A | SERVICE ENTRANCE ON POLE TOP, 2-INCH | EACH | 0 |  | 0
127 | ****** | INSTALL CONDUIT INTO EXISTING HELIX FOUNDATION | EACH | 1 |  | 0
128 | ****** | GUARD POST | EACH | 4 |  | 0
129 | ****** | TYPE II TEMPORARY WATER MAIN SUPPORT | EACH | 0 |  | 0
130 | ****** | TYPE III TEMPORARY WATER MAIN SUPPORT | EACH | 3 |  | 0
131 | TOTAL FOR 22336/B-4-336 - SOUTH OAKLEY AVE.-58TH ST |  |  |  |  | 0