## Master Bid Tab
PROJECT NAME: |  | Chicago Department of Transporation Works Progress Administration ("WPA") Street Reconstruction
LOCATION: |  | N. Mason Ave./ W. 56th Pl. /S. Hoyne Ave.
CONTRACT NO: |  | C1622
PROJECT NO(S): |  | 22835
FIRM NAME:
BID FORM
Bidders MUST use the Excel File available to bidders from the Cross Rhodes Planroom (https://www.x-rhodesplanroom.com/) or the PBC Website (https://pbcchicago.com/opportunities/cdotwpamason56thhoyne/) to ensure accurate calculations for the Total Base Bid and Total Award Criteria. Please follow instructions on the Bid Form (below) for Electronic Submission.
North Mason Ave. | LINE | DESCRIPTION | AMOUNT
North Mason Avenue
| 1 | Base Work Only | 0
| 2 | Commission's Contract Contingency | 370000
| 3 | Sitework Allowance | 25000
| 4 | Brick Paver Allowance | 5000
| 5 | TOTAL BASE BID | 400000
Accepted by the Commission
West 56th St. | LINE | DESCRIPTION | AMOUNT
West 56th Street
| 6 | Base Work Only | 0
| 7 | Commission's Contract Contingency | 175000
| 8 | Sitework Allowance | 25000
| 9 | TOTAL BASE BID | 200000
Accepted by the Commission
South Hoyne Ave. | LINE | DESCRIPTION | AMOUNT
South Hoyne Avenue
| 10 | Base Work Only | 0
| 11 | Commission's Contract Contingency | 385000
| 12 | Sitework Allowance | 25000
| 13 | TOTAL BASE BID | 410000
Accepted by the Commission
| LINE | DESCRIPTION | TOTAL AMOUNTS
| 14 | GRAND TOTAL BASE BID - ALL STREETS (Total of Lines 5, 9 and 13) | 1010000
| 15 | GRAND TOTAL AWARD CRITERIA FIGURE - ALL STREETS | 1010000
SURETY INFORMATION (Provide Legal Name and address of Surety)
Name:
Address:
BIDDER'S INFORMATION
Firm Name:
Date:
NOTES/INSTRUCTIONS
Prior to submitting your bid electronically, please do the following: 1. Ensure ALL THREE (3) Schedule of Prices Worksheets are Complete. 2. Ensure Award Criteria Worksheet is Complete. 3. Ensure Surety Information section, and Bidder's Information section have been populated. 4. Save the file. 5. Convert the file to PDF. 6. Include copy of the Bid Form and Schedule of Prices within the scanned copy of the bid. 7. Attach the PDF version AND the Excel file, along with the scanned copy of the bid. 8. Send email to: dee.taylor@cityofchicago.org and pbc-procurement@cityofchicago.org
Light Gray | Base Work Only | Base Work Only automatically poulates from each Schedule of Prices Worksheet (Line 115)
Light Blue | Contingency(ies) | Amount is fixed and will automatically calculate to determine Total Base Bid (Total of all Streets)
Light Yellow | Allowance(s) | Amount is fixed and will automatically calculate to determine Total Base Bid (Total of All Streets)
Maroon | Grand Total Base Bid | Equals Total of Lines 5, 9 and 13. Grand Total Base Bid automatically populates.
Blue | Grand Total Award Criteria Figure | Based on Line 14 (Grand Total Base Bid figure). Grand Total Award Criteria Figure (Line 15) automatically populates from Award Criteria Figure Worksheet.

## Award Criteria Figure
PROJECT NAME: | Chicago Department of Transporation Works Progress Administration ("WPA") Street Reconstruction
LOCATION: | N. Mason Ave./ W. 56th St. / S. Hoyne Ave.
CONTRACT NO: | C1622
PROJECT NO(S): | 22835
TOTAL BASE WORK ONLY
525000
AWARD CRITERA FIGURE FORMULA
FORMULA
Line 1. (Based on Grand Total Base Bid) |  | 1010000
Line 2. Minority Journeyman (Maximum figure 0.70)
Line 3. Multiply Line 2 by Line 1 by 0.04 |  | 0
1010000
Line 4. Minority Apprentice (Maximum figure 0.70)
Line 5. Multiply Line 4 by Line 1 by 0.03 |  | 0
1010000
Line 6. Minority Laborer (Maximum figure 0.70)
Line 7. Multiply Line 6 by Line 1 by 0.01 |  | 0
1010000
Line 8. Female Journeyman (Maximum figure 0.15)
Line 9. Multiply Line 8 by Line 1 by 0.04 |  | 0
1010000
Line 10. Female Apprentice (Maximum figure 0.15)
Line 11. Multiply Line 10 by Line 1 by 0.03
1010000
Line 12. Female Laborer (Maximum figure 0.15)
Line 13. Multiply Line 12 by Line 1 by 0.01 |  | 0
1010000
Line 14. Total of Lines 3, 5, 7, 9, 11, and 13 |  | 0
Line 15. Total Award Criteria |  | 1010000
TOTAL AWARD CRITERIA (Line 15) |  | 1010000
Accepted by the Commission
BIDDER'S INFORMATION
Firm Name:
Date:
NOTES/INSTRUCTIONS
1. Prior to submitting your bid electronically, please do the following: a. Ensure Lines 2, 4, 6, 8, 10, and 12 in the Formula column and the Bidder's Information section have been populated. b. Save the file. c. Convert the file to PDF. d. Include copy of the Award Criteria Figure worksheet within the scanned copy of the bid. e. Attach the PDF AND Excel version, along with the scanned copy of the bid. f. Send email to: dee.taylor@cityofchicago.org and pbc-procurment@cityofchicago.org.
2. Line 1. (Based on Total Base Bid) automatically populates from Bid Form.
3. Bidder is to populate Lines 2, 4, 6, 8, 10, and 12 (fields shaded Light Green).
4. Lines 2, 4, 6, 8, 10, and 12 are to be entered in decimals. (ie 5% participation = 0.05, 15% participation = 0.15, 50% participation = .50)
5. Line 15. TOTAL AWARD CRITERIA automatically populates.

## N. Mason Ave.
SCHEDULE OF PRICES CHICAGO DEPARTMENT OF TRANSPORTATION WORKS PROGRESS ADMINISTRATION ("WPA") STREET RECONSTRUCTION LOCATION: N. Mason Ave. (from N. Mendota Avenue to W. Estes Avenue and W. Estes Ave. from Alley E. of N. Ionia Ave. to Dead End) CDOT PROJECT NO.: B-4-332 PBC PROJECT NO.: 22835 PBC CONTRACT: C1622 Bidder's pricing for each line item should carry its share of the costs of work, plus its share of overhead and profit. Bidders should avoid nominal pricing for some lines and enhanced pricing for other lines. Bids that the PBC considers to be materially unbalanced will be rejected.
Line | Code Number | Description | Unit | Estimated Quantity | Unit Price | Cost
1 | 20100110 | TREE REMOVAL (6 TO 15 IN DIAMETER) | UNIT | 27 |  | 0
2 | 20100210 | TREE REMOVAL (OVER 15 IN DIAMETER) | UNIT | 111 |  | 0
3 | 20200100 | EARTH EXCAVATION | CU YD | 876 |  | 0
4 | 20101100C | TREE PROTECTION | EACH | 31 |  | 0
5 | 20101210C | ROOT PRUNNING | FOOT | 160 |  | 0
6 | 20800150 | TRENCH BACKFILL | CU YD | 14 |  | 0
7 | 21101615 | TOPSOIL FURNISH AND PLACE, 4-INCH | SQ YD | 1343 |  | 0
8 | 25200110 | SODDING, SALT TOLERANT | SQ YD | 1276 |  | 0
9 | ***** | TREE PLANTING, 2-1/2 INCH TO 3-INCH B&B | EACH | 7 |  | 0
10 | 251K0100C | SHREDDED HARDWOOD BARK MULCH | SQ YD | 68 |  | 0
11 | 28000510 | INLET FILTERS | EACH | 6 |  | 0
12 | CDOT3110010 | SAND CUSHION, VARIABLE DEPTH | CU YD | 0 |  | 0
13 | 31101100 | SUB-BASE GRANULAR MATERIAL, TYPE B, 6-INCH | CU YD | 430 |  | 0
14 | 35300200 | PORTLAND CEMENT CONCRETE BASE COURSE, 7-INCH | SQ YD | 2177 |  | 0
15 | 40600290 | BITUMINOUS MATERIALS (TACK COAT) | POUND | 980 |  | 0
16 | 40600525 | LEVELING BINDER (HAND METHOD), N50 | TON | 2 |  | 0
17 | 40600635 | LEVELING BINDER (MACHINE METHOD), N50 1-1/2 INCH | TON | 183 |  | 0
18 | 40604060 | HOT-MIX ASPHALT SURFACE COURSE, MIX "D", N50, 2-INCH | TON | 244 |  | 0
19 | 42300400 | PORTLAND CEMENT CONCRETE DRIVEWAY AND ALLEY PAVEMENTS, 8-INCH | SQ YD | 409 |  | 0
20 | 42400200C | PORTLAND CEMENT CONCRETE SIDEWALK, 5-INCH | SQ FT | 6059 |  | 0
21 | 42400210C | PORTLAND CEMENT CONCRETE ADA CURB RAMP, 5-INCH | SQ FT | 377 |  | 0
22 | 42400410C | PORTLAND CEMENT CONCRETE SIDEWALK, 8-INCH | SQ FT | 139 |  | 0
23 | 42400420C | PORTLAND CEMENT CONCRETE ADA CURB RAMP, 8-INCH | SQ FT | 0 |  | 0
24 | 42400800C | LINEAR DETECTABLE WARNING TILES (CAST IRON) | SQ FT | 96 |  | 0
25 | 44000050C | HOT-MIX ASPHALT SURFACE REMOVAL, VARIABLE DEPTH | SQ YD | 0 |  | 0
26 | 44000100C | PAVEMENT REMOVAL | SQ YD | 2414 |  | 0
27 | 44000500 | COMBINATION CURB AND GUTTER REMOVAL | FOOT | 147 |  | 0
28 | 44000600 | SIDEWALK REMOVAL | SQ FT | 5651 |  | 0
29 | 442Z0200C | SAW CUTTING PAVEMENT | FOOT | 81 |  | 0
30 | 550Z0108C | STORM SEWER, EXTRA STRENGTH VITRIFIED CLAY PIPE, TYPE 2, 8 INCH | FOOT | 22 |  | 0
31 | 550Z0112C | STORM SEWER, EXTRA STRENGTH VITRIFIED CLAY PIPE, TYPE 2, 12 INCH | FOOT | 0 |  | 0
32 | 550Z0132C | STORM SEWER, DUCTILE IRON PIPE, TYPE 2, 8 INCH | FOOT | 51 |  | 0
33 | 550Z0134C | STORM SEWER, DUCTILE IRON PIPE, TYPE 2, 12 INCH | FOOT | 0 |  | 0
34 | 550Z0162C | STORM SEWER, REINFORCED CONCRETE PIPE, TYPE 2, 24 INCH | FOOT | 0 |  | 0
35 | 550Z0164C | STORM SEWER, REINFORCED CONCRETE PIPE, TYPE 2, 30 INCH | FOOT | 0 |  | 0
36 | 551Z0200C | EXISTING SEWER TO BE REMOVED | FOOT | 0 |  | 0
37 | 551Z0400C | SEWER CLEANING AND TELEVISING | FOOT | 2401 |  | 0
38 | 60200105C | CATCH BASINS, TYPE A, 4-FOOT DIAMETER, TYPE 1 FRAME, OPEN LID (CITY OF CHICAGO) | EACH | 0 |  | 0
39 | 602Z0110C | MANHOLES, TYPE A SINGLE-DROP, 3'-DIAMETER, TYPE 1 FRAME, CLOSED LID (CITY OF CHICAGO) | EACH | 0 |  | 0
40 | 602Z0125C | MANHOLES, TYPE C SINGLE-DROP, 3'-DIAMETER, TYPE 1 FRAME, CLOSED LID (CITY OF CHICAGO) | EACH | 0 |  | 0
41 | 60234200C | INLETS, TYPE A, TYPE 1 FRAME, OPEN LID (CITY OF CHICAGO) | EACH | 0 |  | 0
42 | ***** | CATCH BASINS, TYPE A, 3'-DIAMETER, TYPE 1 FRAME, OPEN LID (CITY OF CHICAGO) | EACH | 6 |  | 0
42A | ***** | CATCH BASINS, TYPE A, 3'-DIAMETER, TYPE 1 FRAME, CLOSED LID (CITY OF CHICAGO) | EACH | 0 |  | 0
43 | 602Z0700C | ADDITIONAL MASONRY | VERT FT | 2 |  | 0
44 | 60250200C | CATCH BASINS TO BE ADJUSTED | EACH | 2 |  | 0
45 | 60255500C | MANHOLES TO BE ADJUSTED | EACH | 5 |  | 0
46 | 60500040C | REMOVING MANHOLES | EACH | 0 |  | 0
47 | 60500050C | REMOVING CATCH BASINS | EACH | 4 |  | 0
48 | 606Z0100C | COMBINATION CONCRETE CURB AND GUTTER, TYPE B-V.12 | FOOT | 1489 |  | 0
49 | 606006050C | CONCRETE CURB, TYPE B | FOOT | 0 |  | 0
50 | 670Z0100C | ENGINEER'S FIELD OFFICE | CAL MONTH | 6 |  | 0
51 | 701Z0300C | TRAFFIC CONTROL COMPLETE | L SUM | 1 |  | 0
52 | 701Z0800C | AGGREGATE FOR TEMPORARY ACCESS | TON | 161 |  | 0
53 | 720Z0300C | CONSTRUCTION SIGN | EACH | 2 |  | 0
54 | 724Z0100C | REMOVE AND SALVAGE SIGN PANEL | EACH | 5 |  | 0
55 | 724Z0110C | REMOVE AND SALVAGE SIGN PANEL AND POST ASSEMBLY | EACH | 2 |  | 0
56 | 729Z0110C | SIGN SUPPORT POST, DIG METHOD | EACH | 9 |  | 0
57 | 729Z0120C | SIGN SUPPORT POST, DRILL METHOD | EACH | 0 |  | 0
58 | 78000400 | THERMOPLASTIC PAVEMENT MARKING, LINE 6-INCH | FOOT | 0 |  | 0
59 | 78000650 | THERMOPLASTIC PAVEMENT MARKING, LINE 24-INCH | FOOT | 348 |  | 0
60 | X2600009 | SIGN PANEL, TYPE 1, RETROREFLECTIVE, TYPE A - DOUBLE-SIDED | SQ FT | 4 |  | 0
61 | X2600010 | SIGN PANEL, TYPE 1, RETROREFLECTIVE, TYPE A - SINGLE-SIDED | SQ FT | 8 |  | 0
62 | 999X0900C | DRILL AND GROUT DOWEL AND TIE BARS | EACH | 6 |  | 0
63 | 999X1000C | PROTECTIVE COAT | SQ YD | 1104 |  | 0
64 | ***** | DRIVEWAY AND ALLEY RETURN PAVEMENT REMOVAL (SPECIAL) | SQ YD | 485 |  | 0
65 | IDOT 56100020 | DUCTILE IRON WATER MAIN TEE, 8" X 8" | EACH | 4 |  | 0
66 | 561Z0200C_CDOT SP 561-2 | WATERMAIN INSTALLED IN OPEN CUT | FOOT | 638 |  | 0
67 | 56105000C_CDOT SP 561-8 | WATER VALVES 8" | EACH | 2 |  | 0
68 | IDOT 56109408 | DUCTILE IRON WATER MAIN FITTINGS 8" 22.5 DEGREE BEND | EACH | 1 |  | 0
69 | IDOT 56109420 | DUCTILE IRON WATER MAIN FITTINGS 8" 45 DEGREE BEND | EACH | 7 |  | 0
70 | IDOT 56200300 | WATER SERVICE LINE 1" | LF | 479 |  | 0
71 | IDOT 56200500 | WATER SERVICE LINE 1 1/2" | LF | 86 |  | 0
72 | 56400500C_CDOT SP 564-3 | REMOVE EXISTING FIRE HYDRANT | EACH | 3 |  | 0
73 | 56400600C_CDOT SP 564-1 | HYDRANT INSTALLATION | EACH | 3 |  | 0
74 | IDOT 56400700 | FIRE HYDRANTS (SPECIAL - FLUSHING HYDRANT) | EACH | 1 |  | 0
75 | 60221100C_CDOT SP 602-1 | MANHOLE, 5 FT DIAMETER, TYPE A, FRAME AND CLOSED LID (CITY OF CHICAGO) | EACH | 2 |  | 0
76 | 565Z0100C_CDOT SP 565-1 | REMOVE EXISTING VALVE AND VAULT | EACH | 1 |  | 0
77 | 561Z0600C_CDOT SP 561-6 | TRANSITION SLEEVE, 8" | EACH | 3 |  | 0
78 | IDOT X1200065 | WATER MAIN CAP, 8" | EACH | 0 |  | 0
79 | IDOT X5620030 | WATER SERVICE CONNECTION 1-INCH | EACH | 20 |  | 0
80 | IDOT X5620035 | WATER SERVICE CONNECTION 1.5-INCH | EACH | 3 |  | 0
81 | IDOT X5620096 | WATER SERVICE LINE 1", (BORED) | LF | 198 |  | 0
82 | ***** | DUCTILE IRON MJ SLEEVE, 8" | EACH | 0 |  | 0
83 | ***** | RESILIENT WEDGE VALVE 8" | EACH | 2 |  | 0
84 | 565Z0700C_CDOT SP 565-7 | WATER SERVICE SHUT OFF BOX REMOVAL AND REPLACEMENT | EACH | 23 |  | 0
85 | ***** | 2" PVC ENCASEMENT | LF | 0 |  | 0
85A | 208Z0200C_CDOT SP 208-2 | TRENCH BACKFILL, WATERMAIN | CY | 347 |  | 0
86 | 810Z0265C | CONDUIT IN TRENCH, PVC (SCHEDULE 80), 2" DIA. | LN FT | 1651 |  | 0
87 | 810Z0300C | TRENCH AND BACKFILL WITH SCREENINGS | LN FT | 1651 |  | 0
88 | 811Z0210C | CONDUIT RISER ATTACHED TO POLE, 2" | EACH | 3 |  | 0
89 | 814Z0120C | HANDHOLE, ELECTRIC, WITH 24" FRAME AND COVER | EACH | 4 |  | 0
90 | 814Z0400C | CLEAN EXISTING CITY MANHOLE OR HANDHOLE | EACH | 0 |  | 0
91 | 814Z0500C | DRILL EXISTING ELECTRIC HANDHOLE OR MANHOLE | EACH | 0 |  | 0
92 | 817Z0220C | ELECTRIC CABLE IN CONDUIT, TRIPLEX, 2-1/C NO. 6, 1-1/C NO. 8 GROUND | LN FT | 1801 |  | 0
93 | 821Z0300C | LUMINAIRE, LED, ACORN, ARTERIAL, RESIDENTIAL | EACH | 10 |  | 0
94 | 821Z0860C | LUMINAIRE, LED, COBRA HEAD, RESIDENTIAL | EACH | 10 |  | 0
95 | 821Z1300C | LUMINAIRE NODE, INTERNAL | EACH | 10 |  | 0
96 | 825Z0200C | CONTROLLER, STREET LIGHTING, POLE MOUNTED, CONSTANT POWER, 1-PHASE, 120/240V, 60A | EACH | 2 |  | 0
97 | 83000023C | LIGHT POLE, ALUMINUM, DAVIT, 18 FT. M.H., 8 FT DAVIT ARM | EACH | 10 |  | 0
98 | 836Z0210C | LIGHT POLE FOUNDATION, METAL, 10" BOLT CIRCLE, 8 5/8" X 5' | EACH | 10 |  | 0
99 | 851Z0100C | PAINT EXISTING LIGHT POLE, MAST ARM(S), AND LUMINAIRE(S) | EACH | 0 |  | 0
100 | 895Z0100C | REMOVE EXISTING STREET LIGHTING EQUIPMENT | EACH | 5 |  | 0
101 | 895Z1100C | BREAKDOWN CONCRETE FOUNDATION, LIGHT POLE | EACH | 5 |  | 0
102 | 990X0410C | BOLLARD REMOVAL | EACH | 0 |  | 0
103 | 66900530 | SOIL DISPOSAL ANALYSIS | EACH | 1 |  | 0
104 | 66901001 | REGULATED SUBSTANCES PRE-CONSTRUCTION PLAN | L SUM | 1 |  | 0
105 | 66901003 | REGULATED SUBSTANCES FINAL CONSTRUCTION REPORT | L SUM | 1 |  | 0
106 | 66901006 | ON-SITE MONITORING OF REGULATED SUBSTANCES | CAL DA | 15 |  | 0
107 | 66900200 | NON-SPECIAL WASTE DISPOSAL | CU YD | 1529 |  | 0
108 | 599Z3900C | PLUG EXISTING SEWER | EACH | 0 |  | 0
109 | 699Z1400C | CATCH BASIN, MANHOLES, WATER VALVES, ROUNDWAYS AND INLETS TO BE CLEANED | EACH | 2 |  | 0
110 | X0327989 | REMOVE EXISTING BRICK PAVERS | SQ FT | 186 |  | 0
111 | X0540000 | BRICK PAVERS | SQ FT | 197 |  | 0
112 | 35300060 | PORTLAND CEMENT CONCRETE BASE COURSE, 4" | SQ YD | 22 |  | 0
113 | 550Z0100C | HOUSE DRAIN "PRIVATE DRAIN", EXTRA STRENGTH VITIFIED CLAY PIPE, TYPE 1, 6 INCH | FOOT | 0 |  | 0
114 | ****** | HOUSE DRAIN "PRIVATE DRAIN", DUCTILE IRON PIPE, TYPE 1, 6 INCH | FOOT | 144 |  | 0
115 | TOTAL FOR 22835/B-4-332 - NORTH MASON AVE. |  |  |  |  | 0

## W. 56th St
SCHEDULE OF PRICES CHICAGO DEPARTMENT OF TRANSPORTATION WORKS PROGRESS ADMINISTRATION ("WPA") STREET RECONSTRUCTION LOCATION: W. 56th St. (from South Shields Ave. to Dead End CDOT PROJECT NO.: B-4-333 PBC PROJECT NO.: 22835 PBC CONTRACT: C1622 Bidder's pricing for each line item should carry its share of the costs of work, plus its share of overhead and profit. Bidders should avoid nominal pricing for some lines and enhanced pricing for other lines. Bids that the PBC considers to be materially unbalanced will be rejected.
Line | Code Number | Description | Unit | Estimated Quantity | Unit Price | Cost
1 | 20100110 | TREE REMOVAL (6 TO 15 IN DIAMETER) | UNIT | 0 |  | 0
2 | 20100210 | TREE REMOVAL (OVER 15 IN DIAMETER) | UNIT | 0 |  | 0
3 | 20200100 | EARTH EXCAVATION | CU YD | 261 |  | 0
4 | 20101100C | TREE PROTECTION | EACH | 1 |  | 0
5 | 20101210C | ROOT PRUNNING | FOOT | 0 |  | 0
6 | 20800150 | TRENCH BACKFILL | CU YD | 256 |  | 0
7 | 21101615 | TOPSOIL FURNISH AND PLACE, 4-INCH | SQ YD | 233 |  | 0
8 | 25200110 | SODDING, SALT TOLERANT | SQ YD | 214 |  | 0
9 | ***** | TREE PLANTING, 2-1/2 INCH TO 3-INCH B&B | EACH | 10 |  | 0
10 | 251K0100C | SHREDDED HARDWOOD BARK MULCH | SQ YD | 20 |  | 0
11 | 28000510 | INLET FILTERS | EACH | 2 |  | 0
12 | CDOT3110010 | SAND CUSHION, VARIABLE DEPTH | CU YD | 14 |  | 0
13 | 31101100 | SUB-BASE GRANULAR MATERIAL, TYPE B, 6-INCH | CU YD | 153 |  | 0
14 | 35300200 | PORTLAND CEMENT CONCRETE BASE COURSE, 7-INCH | SQ YD | 759 |  | 0
15 | 40600290 | BITUMINOUS MATERIALS (TACK COAT) | POUND | 231 |  | 0
16 | 40600525 | LEVELING BINDER (HAND METHOD), N50 | TON | 2 |  | 0
17 | 40600635 | LEVELING BINDER (MACHINE METHOD), N50 1-1/2 INCH | TON | 137 |  | 0
18 | 40604060 | HOT-MIX ASPHALT SURFACE COURSE, MIX "D", N50, 2-INCH | TON | 182 |  | 0
19 | 42300400 | PORTLAND CEMENT CONCRETE DRIVEWAY AND ALLEY PAVEMENTS, 8-INCH | SQ YD | 54 |  | 0
20 | 42400200C | PORTLAND CEMENT CONCRETE SIDEWALK, 5-INCH | SQ FT | 2247 |  | 0
21 | 42400210C | PORTLAND CEMENT CONCRETE ADA CURB RAMP, 5-INCH | SQ FT | 309 |  | 0
22 | 42400410C | PORTLAND CEMENT CONCRETE SIDEWALK, 8-INCH | SQ FT | 144 |  | 0
23 | 42400420C | PORTLAND CEMENT CONCRETE ADA CURB RAMP, 8-INCH | SQ FT | 0 |  | 0
24 | 42400800C | LINEAR DETECTABLE WARNING TILES (CAST IRON) | SQ FT | 48 |  | 0
25 | 44000050C | HOT-MIX ASPHALT SURFACE REMOVAL, VARIABLE DEPTH | SQ YD | 866 |  | 0
26 | 44000100C | PAVEMENT REMOVAL | SQ YD | 812 |  | 0
27 | 44000500 | COMBINATION CURB AND GUTTER REMOVAL | FOOT | 168 |  | 0
28 | 44000600 | SIDEWALK REMOVAL | SQ FT | 1779 |  | 0
29 | 442Z0200C | SAW CUTTING PAVEMENT | FOOT | 268 |  | 0
30 | 550Z0108C | STORM SEWER, EXTRA STRENGTH VITRIFIED CLAY PIPE, TYPE 2, 8 INCH | FOOT | 12 |  | 0
31 | 550Z0112C | STORM SEWER, EXTRA STRENGTH VITRIFIED CLAY PIPE, TYPE 2, 12 INCH | FOOT | 181 |  | 0
32 | 550Z0132C | STORM SEWER, DUCTILE IRON PIPE, TYPE 2, 8 INCH | FOOT | 14 |  | 0
33 | 550Z0134C | STORM SEWER, DUCTILE IRON PIPE, TYPE 2, 12 INCH | FOOT | 25 |  | 0
34 | 550Z0162C | STORM SEWER, REINFORCED CONCRETE PIPE, TYPE 2, 24 INCH | FOOT | 0 |  | 0
35 | 550Z0164C | STORM SEWER, REINFORCED CONCRETE PIPE, TYPE 2, 30 INCH | FOOT | 0 |  | 0
36 | 551Z0200C | EXISTING SEWER TO BE REMOVED | FOOT | 207 |  | 0
37 | 551Z0400C | SEWER CLEANING AND TELEVISING | FOOT | 740 |  | 0
38 | 60200105C | CATCH BASINS, TYPE A, 4-FOOT DIAMETER, TYPE 1 FRAME, OPEN LID (CITY OF CHICAGO) | EACH | 0 |  | 0
39 | 602Z0110C | MANHOLES, TYPE A SINGLE-DROP, 3'-DIAMETER, TYPE 1 FRAME, CLOSED LID (CITY OF CHICAGO) | EACH | 1 |  | 0
40 | 602Z0125C | MANHOLES, TYPE C SINGLE-DROP, 3'-DIAMETER, TYPE 1 FRAME, CLOSED LID (CITY OF CHICAGO) | EACH | 1 |  | 0
41 | 60234200C | INLETS, TYPE A, TYPE 1 FRAME, OPEN LID (CITY OF CHICAGO) | EACH | 0 |  | 0
42 | ***** | CATCH BASINS, TYPE A, 3'-DIAMETER, TYPE 1 FRAME, OPEN LID (CITY OF CHICAGO) | EACH | 2 |  | 0
42A | ***** | CATCH BASINS, TYPE A, 3'-DIAMETER, TYPE 1 FRAME, CLOSED LID (CITY OF CHICAGO) | EACH | 0 |  | 0
43 | 602Z0700C | ADDITIONAL MASONRY | VERT FT | 2 |  | 0
44 | 60250200C | CATCH BASINS TO BE ADJUSTED | EACH | 0 |  | 0
45 | 60255500C | MANHOLES TO BE ADJUSTED | EACH | 2 |  | 0
46 | IDOT 60500040 | REMOVING MANHOLES | EACH | 2 |  | 0
47 | 60500050C | REMOVING CATCH BASINS | EACH | 2 |  | 0
48 | 606Z0100C | COMBINATION CONCRETE CURB AND GUTTER, TYPE B-V.12 | FOOT | 587 |  | 0
49 | 606006050C | CONCRETE CURB, TYPE B | FOOT | 103 |  | 0
50 | 670Z0100C | ENGINEER'S FIELD OFFICE | CAL MONTH | 6 |  | 0
51 | 701Z0300C | TRAFFIC CONTROL COMPLETE | L SUM | 1 |  | 0
52 | 720Z0300C | CONSTRUCTION SIGN | EACH | 2 |  | 0
53 | 724Z0100C | REMOVE AND SALVAGE SIGN PANEL | EACH | 0 |  | 0
54 | 724Z0110C | REMOVE AND SALVAGE SIGN PANEL AND POST ASSEMBLY | EACH | 1 |  | 0
55 | 729Z0110C | SIGN SUPPORT POST, DIG METHOD | EACH | 3 |  | 0
56 | 729Z0120C | SIGN SUPPORT POST, DRILL METHOD | EACH | 1 |  | 0
57 | 78000400 | THERMOPLASTIC PAVEMENT MARKING, LINE 6-INCH | FOOT | 182 |  | 0
58 | 78000650 | THERMOPLASTIC PAVEMENT MARKING, LINE 24-INCH | FOOT | 22 |  | 0
59 | X2600009 | SIGN PANEL, TYPE 1, RETROREFLECTIVE, TYPE A - DOUBLE-SIDED | SQ FT | 1 |  | 0
60 | X2600010 | SIGN PANEL, TYPE 1, RETROREFLECTIVE, TYPE A - SINGLE-SIDED | SQ FT | 4 |  | 0
61 | 999X1000C | PROTECTIVE COAT | SQ YD | 442 |  | 0
62 | 701Z0800C | AGGREGATE FOR TEMPORARY ACCESS | TON | 53 |  | 0
63 | 999X0900C | DRILL AND GROUT DOWEL AND TIE BARS | EACH | 4 |  | 0
64 | ***** | DRIVEWAY AND ALLEY RETURN PAVEMENT REMOVAL (SPECIAL) | SQ YD | 12 |  | 0
65 | IDOT 56100020 | DUCTILE IRON WATER MAIN TEE, 8" X 8" | EACH | 2 |  | 0
66 | 561Z0200C_CDOT SP 561-2 | WATERMAIN INSTALLED IN OPEN CUT | FOOT | 285 |  | 0
67 | 56105000C_CDOT SP 561-8 | WATER VALVES 8" | EACH | 2 |  | 0
68 | IDOT 56109408 | DUCTILE IRON WATER MAIN FITTINGS 8" 22.5 DEGREE BEND | EACH | 2 |  | 0
69 | IDOT 56109420 | DUCTILE IRON WATER MAIN FITTINGS 8" 45 DEGREE BEND | EACH | 7 |  | 0
70 | IDOT 56200300 | WATER SERVICE LINE 1" | LF | 65 |  | 0
71 | IDOT 56200500 | WATER SERVICE LINE 1 1/2" | LF | 0 |  | 0
72 | 56400500C_CDOT SP 564-3 | REMOVE EXISTING FIRE HYDRANT | EACH | 1 |  | 0
73 | 56400600C_CDOT SP 564-1 | HYDRANT INSTALLATION | EACH | 1 |  | 0
74 | IDOT 56400700 | FIRE HYDRANTS (SPECIAL - FLUSHING HYDRANT) | EACH | 0 |  | 0
75 | 60221100C_CDOT SP 602-1 | MANHOLE, 5 FT DIAMETER, TYPE A, FRAME AND CLOSED LID (CITY OF CHICAGO) | EACH | 2 |  | 0
76 | 565Z0100C_CDOT SP 565-1 | REMOVE EXISTING VALVE AND VAULT | EACH | 2 |  | 0
77 | 561Z0600C_CDOT SP 561-6 | TRANSITION SLEEVE, 8" | EACH | 1 |  | 0
78 | IDOT X1200065 | WATER MAIN CAP, 8" | EACH | 1 |  | 0
79 | IDOT X5620030 | WATER SERVICE CONNECTION 1-INCH | EACH | 3 |  | 0
80 | IDOT X5620035 | WATER SERVICE CONNECTION 1.5-INCH | EACH | 0 |  | 0
81 | IDOT X5620096 | WATER SERVICE LINE 1", (BORED) | LF | 0 |  | 0
82 | ***** | DUCTILE IRON MJ SLEEVE, 8" | EACH | 2 |  | 0
83 | ***** | RESILIENT WEDGE VALVE 8" | EACH | 0 |  | 0
84 | 565Z0700C_CDOT SP 565-7 | WATER SERVICE SHUT OFF BOX REMOVAL AND REPLACEMENT | EACH | 3 |  | 0
85 | ***** | 2" PVC ENCASEMENT | LF | 0 |  | 0
85A | 208Z0200C_CDOT SP 208-2 | TRENCH BACKFILL, WATERMAIN | CY | 134 |  | 0
86 | 810Z0265C | CONDUIT IN TRENCH, PVC (SCHEDULE 80), 2" DIA. | LN FT | 805 |  | 0
87 | 810Z0300C | TRENCH AND BACKFILL WITH SCREENINGS | LN FT | 805 |  | 0
88 | 811Z0210C | CONDUIT RISER ATTACHED TO POLE, 2" | EACH | 2 |  | 0
89 | 814Z0120C | HANDHOLE, ELECTRIC, WITH 24" FRAME AND COVER | EACH | 0 |  | 0
90 | 814Z0400C | CLEAN EXISTING CITY MANHOLE OR HANDHOLE | EACH | 3 |  | 0
91 | 814Z0500C | DRILL EXISTING ELECTRIC HANDHOLE OR MANHOLE | EACH | 3 |  | 0
92 | 817Z0220C | ELECTRIC CABLE IN CONDUIT, TRIPLEX, 2-1/C NO. 6, 1-1/C NO. 8 GROUND | LN FT | 1129 |  | 0
93 | 821Z0300C | LUMINAIRE, LED, ACORN, ARTERIAL, RESIDENTIAL | EACH | 6 |  | 0
94 | 821Z0860C | LUMINAIRE, LED, COBRA HEAD, RESIDENTIAL | EACH | 6 |  | 0
95 | 821Z1300C | LUMINAIRE NODE, INTERNAL | EACH | 6 |  | 0
96 | 825Z0200C | CONTROLLER, STREET LIGHTING, POLE MOUNTED, CONSTANT POWER, 1-PHASE, 120/240V, 60A | EACH | 0 |  | 0
97 | 83000023C | LIGHT POLE, ALUMINUM, DAVIT, 18 FT. M.H., 8 FT DAVIT ARM | EACH | 6 |  | 0
98 | 836Z0210C | LIGHT POLE FOUNDATION, METAL, 10" BOLT CIRCLE, 8 5/8" X 5' | EACH | 6 |  | 0
99 | 851Z0100C | PAINT EXISTING LIGHT POLE, MAST ARM(S), AND LUMINAIRE(S) | EACH | 1 |  | 0
100 | 895Z0100C | REMOVE EXISTING STREET LIGHTING EQUIPMENT | EACH | 3 |  | 0
101 | 895Z1100C | BREAKDOWN CONCRETE FOUNDATION, LIGHT POLE | EACH | 3 |  | 0
102 | 990X0410C | BOLLARD REMOVAL | EACH | 2 |  | 0
103 | 66900530 | SOIL DISPOSAL ANALYSIS | EACH | 1 |  | 0
104 | 66901001 | REGULATED SUBSTANCES PRE-CONSTRUCTION PLAN | L SUM | 1 |  | 0
105 | 66901003 | REGULATED SUBSTANCES FINAL CONSTRUCTION REPORT | L SUM | 1 |  | 0
106 | 66901006 | ON-SITE MONITORING OF REGULATED SUBSTANCES | CAL DA | 15 |  | 0
107 | 66900200 | NON-SPECIAL WASTE DISPOSAL | CU YD | 912 |  | 0
108 | 599Z3900C | PLUG EXISTING SEWER | EACH | 2 |  | 0
109 | 699Z1400C | CATCH BASIN, MANHOLES, WATER VALVES, ROUNDWAYS AND INLETS TO BE CLEANED | EACH | 0 |  | 0
110 | X0327989 | REMOVE EXISTING BRICK PAVERS | SQ FT | 0 |  | 0
111 | X0540000 | BRICK PAVERS | SQ FT | 0 |  | 0
112 | 35300060 | PORTLAND CEMENT CONCRETE BASE COURSE, 4" | SQ YD | 0 |  | 0
113 | 550Z0100C | HOUSE DRAIN "PRIVATE DRAIN", EXTRA STRENGTH VITIFIED CLAY PIPE, TYPE 1.6 INCH | FOOT | 0 |  | 0
114 | ****** | HOUSE DRAIN "PRIVATE DRAIN", DUCTILE IRON PIPE, TYPE 1.6 INCH | FOOT | 29 |  | 0
115 | TOTAL FOR 22835/B-4-333 - WEST 56TH ST |  |  |  |  | 0

## S. Hoyne Ave.
SCHEDULE OF PRICES CHICAGO DEPARTMENT OF TRANSPORTATION WORKS PROGRESS ADMINISTRATION ("WPA") STREET RECONSTRUCTION LOCATION: S. Hoyne Ave. (from W. 63rd St. to W. 62nd St.) CDOT PROJECT NO.: B-4-346 PBC PROJECT NO.: 22835 PBC CONTRACT: C1622 Bidder's pricing for each line item should carry its share of the costs of work, plus its share of overhead and profit. Bidders should avoid nominal pricing for some lines and enhanced pricing for other lines. Bids that the PBC considers to be materially unbalanced will be rejected.
Line | Code Number | Description | Unit | Estimated Quantity | Unit Price | Cost
1 | 20100110 | TREE REMOVAL (6 TO 15 IN DIAMETER) | UNIT | 0 |  | 0
2 | 20100210 | TREE REMOVAL (OVER 15 IN DIAMETER) | UNIT | 0 |  | 0
3 | 20200100 | EARTH EXCAVATION | CU YD | 0 |  | 0
4 | 20101100C | TREE PROTECTION | EACH | 1 |  | 0
5 | 20101210C | ROOT PRUNNING | FOOT | 0 |  | 0
6 | 20800150 | TRENCH BACKFILL | CU YD | 417 |  | 0
7 | 21101615 | TOPSOIL FURNISH AND PLACE, 4-INCH | SQ YD | 1620 |  | 0
8 | 25200110 | SODDING, SALT TOLERANT | SQ YD | 1573 |  | 0
9 | ***** | TREE PLANTING, 2-1/2 INCH TO 3-INCH B&B | EACH | 25 |  | 0
10 | 251K0100C | SHREDDED HARDWOOD BARK MULCH | SQ YD | 46 |  | 0
11 | 28000510 | INLET FILTERS | EACH | 6 |  | 0
12 | CDOT3110010 | SAND CUSHION, VARIABLE DEPTH | CU YD | 59 |  | 0
13 | 31101100 | SUB-BASE GRANULAR MATERIAL, TYPE B, 6-INCH | CU YD | 400 |  | 0
14 | 35300200 | PORTLAND CEMENT CONCRETE BASE COURSE, 7-INCH | SQ YD | 2015 |  | 0
15 | 40600290 | BITUMINOUS MATERIALS (TACK COAT) | POUND | 1814 |  | 0
16 | 40600525 | LEVELING BINDER (HAND METHOD), N50 | TON | 2 |  | 0
17 | 40600635 | LEVELING BINDER (MACHINE METHOD), N50 1-1/2 INCH | TON | 169 |  | 0
18 | 40604060 | HOT-MIX ASPHALT SURFACE COURSE, MIX "D", N50, 2-INCH | TON | 226 |  | 0
19 | 42300400 | PORTLAND CEMENT CONCRETE DRIVEWAY AND ALLEY PAVEMENTS, 8-INCH | SQ YD | 147 |  | 0
20 | 42400200C | PORTLAND CEMENT CONCRETE SIDEWALK, 5-INCH | SQ FT | 7598 |  | 0
21 | 42400210C | PORTLAND CEMENT CONCRETE ADA CURB RAMP, 5-INCH | SQ FT | 369 |  | 0
22 | 42400410C | PORTLAND CEMENT CONCRETE SIDEWALK, 8-INCH | SQ FT | 484 |  | 0
23 | 42400420C | PORTLAND CEMENT CONCRETE ADA CURB RAMP, 8-INCH | SQ FT | 0 |  | 0
24 | 42400800C | LINEAR DETECTABLE WARNING TILES (CAST IRON) | SQ FT | 72 |  | 0
25 | 44000050C | HOT-MIX ASPHALT SURFACE REMOVAL, VARIABLE DEPTH | SQ YD | 0 |  | 0
26 | 44000100C | PAVEMENT REMOVAL | SQ YD | 1609 |  | 0
27 | 44000500 | COMBINATION CURB AND GUTTER REMOVAL | FOOT | 279 |  | 0
28 | 44000600 | SIDEWALK REMOVAL | SQ FT | 3807 |  | 0
29 | 442Z0200C | SAW CUTTING PAVEMENT | FOOT | 108 |  | 0
30 | 550Z0108C | STORM SEWER, EXTRA STRENGTH VITRIFIED CLAY PIPE, TYPE 2, 8 INCH | FOOT | 0 |  | 0
31 | 550Z0112C | STORM SEWER, EXTRA STRENGTH VITRIFIED CLAY PIPE, TYPE 2, 12 INCH | FOOT | 0 |  | 0
32 | 550Z0132C | STORM SEWER, DUCTILE IRON PIPE, TYPE 2, 8 INCH | FOOT | 70 |  | 0
33 | 550Z0134C | STORM SEWER, DUCTILE IRON PIPE, TYPE 2, 12 INCH | FOOT | 236 |  | 0
34 | 550Z0162C | STORM SEWER, REINFORCED CONCRETE PIPE, TYPE 2, 24 INCH | FOOT | 303 |  | 0
35 | 550Z0164C | STORM SEWER, REINFORCED CONCRETE PIPE, TYPE 2, 30 INCH | FOOT | 282 |  | 0
36 | 551Z0200C | EXISTING SEWER TO BE REMOVED | FOOT | 236 |  | 0
37 | 551Z0400C | SEWER CLEANING AND TELEVISING | FOOT | 1572 |  | 0
38 | 60200105C | CATCH BASINS, TYPE A, 4-FOOT DIAMETER, TYPE 1 FRAME, OPEN LID (CITY OF CHICAGO) | EACH | 2 |  | 0
39 | 602Z0110C | MANHOLES, TYPE A SINGLE-DROP, 3'-DIAMETER, TYPE 1 FRAME, CLOSED LID (CITY OF CHICAGO) | EACH | 1 |  | 0
40 | 602Z0125C | MANHOLES, TYPE C SINGLE-DROP, 3'-DIAMETER, TYPE 1 FRAME, CLOSED LID (CITY OF CHICAGO) | EACH | 0 |  | 0
41 | 60234200C | INLETS, TYPE A, TYPE 1 FRAME, OPEN LID (CITY OF CHICAGO) | EACH | 1 |  | 0
42 | ***** | CATCH BASINS, TYPE A, 3'-DIAMETER, TYPE 1 FRAME, OPEN LID (CITY OF CHICAGO) | EACH | 2 |  | 0
42A | ***** | CATCH BASINS, TYPE A, 3'-DIAMETER, TYPE 1 FRAME, CLOSED LID (CITY OF CHICAGO) | EACH | 1 |  | 0
43 | 602Z0700C | ADDITIONAL MASONRY | VERT FT | 2 |  | 0
44 | 60250200C | CATCH BASINS TO BE ADJUSTED | EACH | 0 |  | 0
45 | 60255500C | MANHOLES TO BE ADJUSTED | EACH | 3 |  | 0
46 | IDOT 60500040 | REMOVING MANHOLES | EACH | 0 |  | 0
47 | 60500050C | REMOVING CATCH BASINS | EACH | 1 |  | 0
48 | 606Z0100C | COMBINATION CONCRETE CURB AND GUTTER, TYPE B-V.12 | FOOT | 1382 |  | 0
49 | 606006050C | CONCRETE CURB, TYPE B | FOOT | 156 |  | 0
50 | 670Z0100C | ENGINEER'S FIELD OFFICE | CAL MONTH | 6 |  | 0
51 | 701Z0300C | TRAFFIC CONTROL COMPLETE | L SUM | 1 |  | 0
52 | 720Z0300C | CONSTRUCTION SIGN | EACH | 2 |  | 0
53 | 724Z0100C | REMOVE AND SALVAGE SIGN PANEL | EACH | 4 |  | 0
54 | 724Z0110C | REMOVE AND SALVAGE SIGN PANEL AND POST ASSEMBLY | EACH | 1 |  | 0
55 | 729Z0110C | SIGN SUPPORT POST, DIG METHOD | EACH | 5 |  | 0
56 | 729Z0120C | SIGN SUPPORT POST, DRILL METHOD | EACH | 0 |  | 0
57 | 78000400 | THERMOPLASTIC PAVEMENT MARKING, LINE 6-INCH | FOOT | 58.96 |  | 0
58 | 78000650 | THERMOPLASTIC PAVEMENT MARKING, LINE 24-INCH | FOOT | 58 |  | 0
59 | X2600009 | SIGN PANEL, TYPE 1, RETROREFLECTIVE, TYPE A - DOUBLE-SIDED | SQ FT | 4 |  | 0
60 | X2600010 | SIGN PANEL, TYPE 1, RETROREFLECTIVE, TYPE A - SINGLE-SIDED | SQ FT | 6 |  | 0
61 | 999X1000C | PROTECTIVE COAT | SQ YD | 1262 |  | 0
62 | 701Z0800C | AGGREGATE FOR TEMPORARY ACCESS | TON | 81 |  | 0
63 | 999X0900C | DRILL AND GROUT DOWEL AND TIE BARS | EACH | 4 |  | 0
64 | ***** | DRIVEWAY AND ALLEY RETURN PAVEMENT REMOVAL (SPECIAL) | SQ YD | 89 |  | 0
65 | IDOT 56100020 | DUCTILE IRON WATER MAIN TEE, 8" X 8" | EACH | 1 |  | 0
66 | 561Z0200C_CDOT SP 561-2 | WATERMAIN INSTALLED IN OPEN CUT | FOOT | 679 |  | 0
67 | 56105000C_CDOT SP 561-8 | WATER VALVES 8" | EACH | 1 |  | 0
68 | IDOT 56109408 | DUCTILE IRON WATER MAIN FITTINGS 8" 22.5 DEGREE BEND | EACH | 0 |  | 0
69 | IDOT 56109420 | DUCTILE IRON WATER MAIN FITTINGS 8" 45 DEGREE BEND | EACH | 6 |  | 0
70 | IDOT 56200300 | WATER SERVICE LINE 1" | LF | 450 |  | 0
71 | IDOT 56200500 | WATER SERVICE LINE 1 1/2" | LF | 0 |  | 0
72 | 56400500C_CDOT SP 564-3 | REMOVE EXISTING FIRE HYDRANT | EACH | 1 |  | 0
73 | 56400600C_CDOT SP 564-1 | HYDRANT INSTALLATION | EACH | 1 |  | 0
74 | IDOT 56400700 | FIRE HYDRANTS (SPECIAL - FLUSHING HYDRANT) | EACH | 1 |  | 0
75 | 60221100C_CDOT SP 602-1 | MANHOLE, 5 FT DIAMETER, TYPE A, FRAME AND CLOSED LID (CITY OF CHICAGO) | EACH | 1 |  | 0
76 | 565Z0100C_CDOT SP 565-1 | REMOVE EXISTING VALVE AND VAULT | EACH | 1 |  | 0
77 | 561Z0600C_CDOT SP 561-6 | TRANSITION SLEEVE, 8" | EACH | 2 |  | 0
78 | IDOT X1200065 | WATER MAIN CAP, 8" | EACH | 0 |  | 0
79 | IDOT X5620030 | WATER SERVICE CONNECTION 1-INCH | EACH | 19 |  | 0
80 | IDOT X5620035 | WATER SERVICE CONNECTION 1.5-INCH | EACH | 0 |  | 0
81 | IDOT X5620096 | WATER SERVICE LINE 1", (BORED) | LF | 48 |  | 0
82 | ***** | DUCTILE IRON MJ SLEEVE, 8" | EACH | 0 |  | 0
83 | ***** | RESILIENT WEDGE VALVE 8" | EACH | 1 |  | 0
84 | 565Z0700C_CDOT SP 565-7 | WATER SERVICE SHUT OFF BOX REMOVAL AND REPLACEMENT | EACH | 19 |  | 0
85 | ***** | 2" PVC ENCASEMENT | LF | 69 |  | 0
85A | 208Z0200C_CDOT SP 208-2 | TRENCH BACKFILL, WATERMAIN | CY | 352 |  | 0
86 | 810Z0265C | CONDUIT IN TRENCH, PVC (SCHEDULE 80), 2" DIA. | LN FT | 1262 |  | 0
87 | 810Z0300C | TRENCH AND BACKFILL WITH SCREENINGS | LN FT | 1262 |  | 0
88 | 811Z0210C | CONDUIT RISER ATTACHED TO POLE, 2" | EACH | 1 |  | 0
89 | 814Z0120C | HANDHOLE, ELECTRIC, WITH 24" FRAME AND COVER | EACH | 1 |  | 0
90 | 814Z0400C | CLEAN EXISTING CITY MANHOLE OR HANDHOLE | EACH | 1 |  | 0
91 | 814Z0500C | DRILL EXISTING ELECTRIC HANDHOLE OR MANHOLE | EACH | 1 |  | 0
92 | 817Z0220C | ELECTRIC CABLE IN CONDUIT, TRIPLEX, 2-1/C NO. 6, 1-1/C NO. 8 GROUND | LN FT | 1397 |  | 0
93 | 821Z0300C | LUMINAIRE, LED, ACORN, ARTERIAL, RESIDENTIAL | EACH | 8 |  | 0
94 | 821Z0860C | LUMINAIRE, LED, COBRA HEAD, RESIDENTIAL | EACH | 8 |  | 0
95 | 821Z1300C | LUMINAIRE NODE, INTERNAL | EACH | 8 |  | 0
96 | 825Z0200C | CONTROLLER, STREET LIGHTING, POLE MOUNTED, CONSTANT POWER, 1-PHASE, 120/240V, 60A | EACH | 0 |  | 0
97 | 83000023C | LIGHT POLE, ALUMINUM, DAVIT, 18 FT. M.H., 8 FT DAVIT ARM | EACH | 8 |  | 0
98 | 836Z0210C | LIGHT POLE FOUNDATION, METAL, 10" BOLT CIRCLE, 8 5/8" X 5' | EACH | 8 |  | 0
99 | 851Z0100C | PAINT EXISTING LIGHT POLE, MAST ARM(S), AND LUMINAIRE(S) | EACH | 0 |  | 0
100 | 895Z0100C | REMOVE EXISTING STREET LIGHTING EQUIPMENT | EACH | 6 |  | 0
101 | 895Z1100C | BREAKDOWN CONCRETE FOUNDATION, LIGHT POLE | EACH | 6 |  | 0
102 | 990X0410C | BOLLARD REMOVAL | EACH | 16 |  | 0
103 | 66900530 | SOIL DISPOSAL ANALYSIS | EACH | 1 |  | 0
104 | 66901001 | REGULATED SUBSTANCES PRE-CONSTRUCTION PLAN | L SUM | 1 |  | 0
105 | 66901003 | REGULATED SUBSTANCES FINAL CONSTRUCTION REPORT | L SUM | 1 |  | 0
106 | 66901006 | ON-SITE MONITORING OF REGULATED SUBSTANCES | CAL DA | 15 |  | 0
107 | 66900200 | NON-SPECIAL WASTE DISPOSAL | CU YD | 2127 |  | 0
108 | 599Z3900C | PLUG EXISTING SEWER | EACH | 0 |  | 0
109 | 699Z1400C | CATCH BASIN, MANHOLES, WATER VALVES, ROUNDWAYS AND INLETS TO BE CLEANED | EACH | 3 |  | 0
110 | X0327989 | REMOVE EXISTING BRICK PAVERS | SQ FT | 0 |  | 0
111 | X0540000 | BRICK PAVERS | SQ FT | 0 |  | 0
112 | 35300060 | PORTLAND CEMENT CONCRETE BASE COURSE, 4" | SQ YD | 0 |  | 0
113 | 550Z0100C | HOUSE DRAIN "PRIVATE DRAIN", EXTRA STRENGTH VITIFIED CLAY PIPE, TYPE 1, 6 INCH | FOOT | 88 |  | 0
114 | ****** | HOUSE DRAIN "PRIVATE DRAIN", DUCTILE IRON PIPE, TYPE 1, 6 INCH | FOOT | 114 |  | 0
115 | TOTAL FOR 22835/B-4-346 - SOUTH HOYNE AVE. |  |  |  |  | 0